## INPUTS
INPUTS | VALUE
Incident spectrum | AM0
Transmission model | SPCTRAL2 [Bir86]
Atmospheric pressure | 1013.25
Turbidity at 500 nm | 0.084
Water vapour absorption | 1.4164
Ozone | 0.3438
Albedo | 0.1
Latitude | 48.5038
Longitude | -121.4116
Year | 2023
Month | 7
Day | 24
Hour | 12
Minute | 0
Second | 0
Wavelength limits and interval | Impose wavelength limits
Minimum wavelength | 205
Maximum wavelength | 4000
Wavelength interval | 10

## OUTPUTS
Insolation | Power density perpendicular (W/m2) | Power density module (W/m2) | Photon current perpendicular (mA/cm2) | Photon current module (mA/cm2)
Direct | 932.1 | 814.1 | 65.02 | 56.79
Diffuse | 99.7 | 95.9 | 4.64 | 4.32
Global | 1031.8 | 910.1 | 69.66 | 61.12

## Spectral irradiance
Wavelength (nm) | Extraterrestrial (W/m2/nm) | Direct to perpendicular plane (W/m2/nm) | Diffuse to perpendicular plane (W/m2/nm) | Global to perpendicular plane (W/m2/nm) | Direct to horizontal plane (W/m2/nm) | Diffuse to horizontal plane (W/m2/nm) | Global to horizontal plane (W/m2/nm) | Direct into module (W/m2/nm) | Diffuse into module (W/m2/nm) | Global into module (W/m2/nm) | flux*wavelength | broadband flux
205 | 0.082 | 2.756e-05 | 0.020245 | 0.020272 | 2.4073e-05 | 0.021466 | 0.02149 | 2.4073e-05 | 0.021466 | 0.02149 | 4.4055 | 199.049
215 | 0.082 | 0.00013169 | 0.020741 | 0.020873 | 0.00011503 | 0.02199 | 0.022105 | 0.00011503 | 0.02199 | 0.022105 | 4.7527
225 | 0.082 | 0.00042926 | 0.021171 | 0.0216 | 0.00037495 | 0.022438 | 0.022813 | 0.00037495 | 0.022438 | 0.022813 | 5.133
235 | 0.082 | 0.0010654 | 0.021491 | 0.022557 | 0.00093065 | 0.022762 | 0.023692 | 0.00093065 | 0.022762 | 0.023692 | 5.5677
245 | 0.082 | 0.0021682 | 0.021669 | 0.023837 | 0.0018939 | 0.022922 | 0.024816 | 0.0018939 | 0.022922 | 0.024816 | 6.08
255 | 0.082 | 0.0038075 | 0.02169 | 0.025498 | 0.0033258 | 0.022904 | 0.02623 | 0.0033258 | 0.022904 | 0.02623 | 6.6886
265 | 0.082 | 0.0059813 | 0.02156 | 0.027542 | 0.0052246 | 0.022712 | 0.027937 | 0.0052246 | 0.022712 | 0.027937 | 7.4032
275 | 0.082 | 0.0086273 | 0.021297 | 0.029924 | 0.0075359 | 0.022369 | 0.029905 | 0.0075359 | 0.022369 | 0.029905 | 8.2238
285 | 0.28323 | 0.040224 | 0.072274 | 0.1125 | 0.035135 | 0.075657 | 0.11079 | 0.035135 | 0.075657 | 0.11079 | 31.5757
295 | 0.53622 | 0.097579 | 0.13386 | 0.23144 | 0.085234 | 0.13961 | 0.22485 | 0.085234 | 0.13961 | 0.22485 | 66.33
305 | 0.56632 | 0.019193 | 0.019272 | 0.038465 | 0.016765 | 0.020276 | 0.037041 | 0.016765 | 0.020276 | 0.037041 | 11.2974
315 | 0.6971 | 0.10908 | 0.092346 | 0.20143 | 0.095283 | 0.096238 | 0.19152 | 0.095283 | 0.096238 | 0.19152 | 60.3292
325 | 0.86487 | 0.22944 | 0.16783 | 0.39728 | 0.20041 | 0.17343 | 0.37385 | 0.20041 | 0.17343 | 0.37385 | 121.5007
335 | 0.9582 | 0.32461 | 0.20618 | 0.5308 | 0.28355 | 0.21176 | 0.4953 | 0.28355 | 0.21176 | 0.4953 | 165.9271
345 | 0.95475 | 0.36784 | 0.20398 | 0.57182 | 0.3213 | 0.20857 | 0.52987 | 0.3213 | 0.20857 | 0.52987 | 182.8064
355 | 0.98795 | 0.41974 | 0.20568 | 0.62542 | 0.36664 | 0.20948 | 0.57611 | 0.36664 | 0.20948 | 0.57611 | 204.5203
365 | 1.1234 | 0.51739 | 0.22662 | 0.74401 | 0.45194 | 0.22994 | 0.68187 | 0.45194 | 0.22994 | 0.68187 | 248.8832
375 | 1.1381 | 0.56158 | 0.22212 | 0.7837 | 0.49054 | 0.22456 | 0.7151 | 0.49054 | 0.22456 | 0.7151 | 268.1609
385 | 1.0154 | 0.53211 | 0.19176 | 0.72386 | 0.46479 | 0.1932 | 0.65799 | 0.46479 | 0.1932 | 0.65799 | 253.326
395 | 1.1575 | 0.63936 | 0.21158 | 0.85094 | 0.55847 | 0.21247 | 0.77095 | 0.55847 | 0.21247 | 0.77095 | 304.5241
405 | 1.7205 | 0.99554 | 0.30459 | 1.3001 | 0.8696 | 0.30493 | 1.1745 | 0.8696 | 0.30493 | 1.1745 | 475.6821
415 | 1.736 | 1.0466 | 0.29785 | 1.3444 | 0.91417 | 0.29728 | 1.2115 | 0.91417 | 0.29728 | 1.2115 | 502.7546
425 | 1.6695 | 1.0438 | 0.2778 | 1.3216 | 0.91173 | 0.27648 | 1.1882 | 0.91173 | 0.27648 | 1.1882 | 504.9878
435 | 1.643 | 1.061 | 0.26535 | 1.3264 | 0.92678 | 0.26337 | 1.1902 | 0.92678 | 0.26337 | 1.1902 | 517.7163
445 | 1.924 | 1.2782 | 0.30164 | 1.5798 | 1.1165 | 0.29862 | 1.4151 | 1.1165 | 0.29862 | 1.4151 | 629.7105
455 | 2.0315 | 1.3834 | 0.30653 | 1.6899 | 1.2083 | 0.30265 | 1.511 | 1.2083 | 0.30265 | 1.511 | 687.5033
465 | 2.017 | 1.4042 | 0.29067 | 1.6948 | 1.2265 | 0.28619 | 1.5127 | 1.2265 | 0.28619 | 1.5127 | 703.4048
475 | 2.0295 | 1.4405 | 0.27952 | 1.72 | 1.2583 | 0.27446 | 1.5327 | 1.2583 | 0.27446 | 1.5327 | 728.0479
485 | 1.932 | 1.3942 | 0.25436 | 1.6486 | 1.2179 | 0.24909 | 1.4669 | 1.2179 | 0.24909 | 1.4669 | 711.4689
495 | 1.9515 | 1.4282 | 0.24565 | 1.6738 | 1.2475 | 0.23995 | 1.4875 | 1.2475 | 0.23995 | 1.4875 | 736.2892
505 | 1.9185 | 1.421 | 0.23086 | 1.6518 | 1.2412 | 0.22493 | 1.4661 | 1.2412 | 0.22493 | 1.4661 | 740.4023
515 | 1.8275 | 1.3685 | 0.21033 | 1.5788 | 1.1954 | 0.20441 | 1.3998 | 1.1954 | 0.20441 | 1.3998 | 720.8912
525 | 1.8695 | 1.4122 | 0.20576 | 1.618 | 1.2336 | 0.19947 | 1.433 | 1.2336 | 0.19947 | 1.433 | 752.3503
535 | 1.8885 | 1.4364 | 0.19879 | 1.6351 | 1.2546 | 0.19225 | 1.4469 | 1.2546 | 0.19225 | 1.4469 | 774.0828
545 | 1.854 | 1.4197 | 0.18705 | 1.6068 | 1.2401 | 0.18045 | 1.4206 | 1.2401 | 0.18045 | 1.4206 | 774.2071
555 | 1.8475 | 1.4216 | 0.17859 | 1.6002 | 1.2417 | 0.17188 | 1.4136 | 1.2417 | 0.17188 | 1.4136 | 784.5547
565 | 1.837 | 1.4171 | 0.17002 | 1.5871 | 1.2378 | 0.16325 | 1.4011 | 1.2378 | 0.16325 | 1.4011 | 791.5954
575 | 1.834 | 1.4149 | 0.16235 | 1.5773 | 1.2359 | 0.15555 | 1.3915 | 1.2359 | 0.15555 | 1.3915 | 800.1036
585 | 1.8075 | 1.396 | 0.15348 | 1.5495 | 1.2194 | 0.14672 | 1.3661 | 1.2194 | 0.14672 | 1.3661 | 799.1772
595 | 1.7845 | 1.3846 | 0.14615 | 1.5307 | 1.2094 | 0.13937 | 1.3488 | 1.2094 | 0.13937 | 1.3488 | 802.5275
605 | 1.7505 | 1.3791 | 0.14016 | 1.5192 | 1.2046 | 0.13327 | 1.3379 | 1.2046 | 0.13327 | 1.3379 | 809.4029
615 | 1.6955 | 1.3572 | 0.13301 | 1.4902 | 1.1855 | 0.1261 | 1.3116 | 1.1855 | 0.1261 | 1.3116 | 806.616
625 | 1.679 | 1.36 | 0.12862 | 1.4886 | 1.1879 | 0.1216 | 1.3095 | 1.1879 | 0.1216 | 1.3095 | 818.4656
635 | 1.644 | 1.3456 | 0.12292 | 1.4685 | 1.1753 | 0.11589 | 1.2912 | 1.1753 | 0.11589 | 1.2912 | 819.9359
645 | 1.601 | 1.3222 | 0.11678 | 1.439 | 1.1549 | 0.1098 | 1.2647 | 1.1549 | 0.1098 | 1.2647 | 815.7487
655 | 1.5225 | 1.2683 | 0.10842 | 1.3767 | 1.1078 | 0.10166 | 1.2095 | 1.1078 | 0.10166 | 1.2095 | 792.2125
665 | 1.5555 | 1.3262 | 0.11007 | 1.4362 | 1.1584 | 0.10287 | 1.2613 | 1.1584 | 0.10287 | 1.2613 | 838.7407
675 | 1.51 | 1.2529 | 0.10061 | 1.3535 | 1.0944 | 0.093949 | 1.1883 | 1.0944 | 0.093949 | 1.1883 | 802.1199
685 | 1.4745 | 1.1954 | 0.092939 | 1.2884 | 1.0442 | 0.086677 | 1.1309 | 1.0442 | 0.086677 | 1.1309 | 774.6499
695 | 1.446 | 1.1759 | 0.088732 | 1.2646 | 1.0271 | 0.082549 | 1.1097 | 1.0271 | 0.082549 | 1.1097 | 771.2263
705 | 1.408 | 1.1809 | 0.086714 | 1.2676 | 1.0315 | 0.080362 | 1.1119 | 1.0315 | 0.080362 | 1.1119 | 783.8565
715 | 1.3655 | 1.0905 | 0.077232 | 1.1678 | 0.95256 | 0.071547 | 1.0241 | 0.95256 | 0.071547 | 1.0241 | 732.2399
725 | 1.3415 | 1.0294 | 0.070603 | 1.1 | 0.89916 | 0.06536 | 0.96452 | 0.89916 | 0.06536 | 0.96452 | 699.2763
735 | 1.311 | 1.0695 | 0.071903 | 1.1414 | 0.9342 | 0.066235 | 1.0004 | 0.9342 | 0.066235 | 1.0004 | 735.3217
745 | 1.2825 | 1.1172 | 0.073737 | 1.191 | 0.97588 | 0.067566 | 1.0434 | 0.97588 | 0.067566 | 1.0434 | 777.3636
755 | 1.2675 | 1.1188 | 0.072093 | 1.1909 | 0.97725 | 0.065863 | 1.0431 | 0.97725 | 0.065863 | 1.0431 | 787.5482
765 | 1.2345 | 1.0231 | 0.064105 | 1.0872 | 0.89362 | 0.058616 | 0.95224 | 0.89362 | 0.058616 | 0.95224 | 728.464
775 | 1.207 | 1.0119 | 0.061931 | 1.0739 | 0.88391 | 0.056462 | 0.94037 | 0.88391 | 0.056462 | 0.94037 | 728.7847
785 | 1.187 | 1.0552 | 0.063247 | 1.1184 | 0.9217 | 0.057351 | 0.97905 | 0.9217 | 0.057351 | 0.97905 | 768.5517
795 | 1.1445 | 1.0149 | 0.059412 | 1.0743 | 0.88649 | 0.053751 | 0.94024 | 0.88649 | 0.053751 | 0.94024 | 747.4892
805 | 1.1215 | 0.95055 | 0.054115 | 1.0047 | 0.83029 | 0.048939 | 0.87923 | 0.83029 | 0.048939 | 0.87923 | 707.7803
815 | 1.105 | 0.89726 | 0.049731 | 0.94699 | 0.78375 | 0.044948 | 0.82869 | 0.78375 | 0.044948 | 0.82869 | 675.3855
825 | 1.0715 | 0.84717 | 0.045824 | 0.893 | 0.74 | 0.041362 | 0.78136 | 0.74 | 0.041362 | 0.78136 | 644.6201
835 | 1.0505 | 0.90527 | 0.04838 | 0.95365 | 0.79074 | 0.043406 | 0.83415 | 0.79074 | 0.043406 | 0.83415 | 696.5151
845 | 1.021 | 0.90092 | 0.047281 | 0.9482 | 0.78694 | 0.042273 | 0.82921 | 0.78694 | 0.042273 | 0.82921 | 700.6838
855 | 0.974 | 0.8711 | 0.044864 | 0.91597 | 0.7609 | 0.039991 | 0.80089 | 0.7609 | 0.039991 | 0.80089 | 684.7599
865 | 0.96825 | 0.87614 | 0.044293 | 0.92043 | 0.7653 | 0.039366 | 0.80467 | 0.7653 | 0.039366 | 0.80467 | 696.0353
875 | 0.9588 | 0.86847 | 0.04306 | 0.91153 | 0.7586 | 0.038176 | 0.79677 | 0.7586 | 0.038176 | 0.79677 | 697.1769
885 | 0.93815 | 0.77351 | 0.037249 | 0.81075 | 0.67565 | 0.033077 | 0.70872 | 0.67565 | 0.033077 | 0.70872 | 627.2209
895 | 0.9267 | 0.70569 | 0.033101 | 0.73879 | 0.61641 | 0.029413 | 0.64582 | 0.61641 | 0.029413 | 0.64582 | 578.0129
905 | 0.90505 | 0.65141 | 0.029853 | 0.68127 | 0.569 | 0.026517 | 0.59552 | 0.569 | 0.026517 | 0.59552 | 538.9454
915 | 0.8927 | 0.66947 | 0.030244 | 0.69971 | 0.58477 | 0.026758 | 0.61153 | 0.58477 | 0.026758 | 0.61153 | 559.5518
925 | 0.8654 | 0.64979 | 0.028847 | 0.67863 | 0.56758 | 0.025457 | 0.59304 | 0.56758 | 0.025457 | 0.59304 | 548.5603
935 | 0.86055 | 0.4022 | 0.016993 | 0.4192 | 0.35132 | 0.015172 | 0.36649 | 0.35132 | 0.015172 | 0.36649 | 342.6688
945 | 0.82765 | 0.38507 | 0.015996 | 0.40106 | 0.33635 | 0.014247 | 0.3506 | 0.33635 | 0.014247 | 0.3506 | 331.3137
955 | 0.80975 | 0.44737 | 0.018458 | 0.46583 | 0.39077 | 0.016326 | 0.4071 | 0.39077 | 0.016326 | 0.4071 | 388.7783
965 | 0.79365 | 0.61226 | 0.025475 | 0.63773 | 0.5348 | 0.022237 | 0.55704 | 0.5348 | 0.022237 | 0.55704 | 537.5395
975 | 0.7774 | 0.62791 | 0.025815 | 0.65372 | 0.54847 | 0.022439 | 0.57091 | 0.54847 | 0.022439 | 0.57091 | 556.6369
985 | 0.7684 | 0.65258 | 0.026533 | 0.67912 | 0.57002 | 0.022961 | 0.59298 | 0.57002 | 0.022961 | 0.59298 | 584.0892
995 | 0.7519 | 0.67764 | 0.027285 | 0.70492 | 0.59191 | 0.023495 | 0.6154 | 0.59191 | 0.023495 | 0.6154 | 612.3262
1005 | 0.7295 | 0.66006 | 0.026182 | 0.68624 | 0.57655 | 0.022486 | 0.59904 | 0.57655 | 0.022486 | 0.59904 | 602.0329
1015 | 0.7154 | 0.65013 | 0.025412 | 0.67554 | 0.56788 | 0.021767 | 0.58964 | 0.56788 | 0.021767 | 0.58964 | 598.4886
1025 | 0.69735 | 0.6369 | 0.02454 | 0.66144 | 0.55632 | 0.020964 | 0.57729 | 0.55632 | 0.020964 | 0.57729 | 591.7197
1035 | 0.6821 | 0.62685 | 0.023817 | 0.65067 | 0.54755 | 0.020291 | 0.56784 | 0.54755 | 0.020291 | 0.56784 | 587.7141
1045 | 0.66725 | 0.61588 | 0.023076 | 0.63896 | 0.53797 | 0.019607 | 0.55757 | 0.53797 | 0.019607 | 0.55757 | 582.6656
1055 | 0.65345 | 0.60353 | 0.022296 | 0.62583 | 0.52718 | 0.018897 | 0.54608 | 0.52718 | 0.018897 | 0.54608 | 576.1094
1065 | 0.6347 | 0.58658 | 0.02137 | 0.60795 | 0.51237 | 0.018067 | 0.53043 | 0.51237 | 0.018067 | 0.53043 | 564.9124
1075 | 0.62345 | 0.54552 | 0.019498 | 0.56502 | 0.47651 | 0.01648 | 0.49299 | 0.47651 | 0.01648 | 0.49299 | 529.962
1085 | 0.60805 | 0.50753 | 0.01782 | 0.52535 | 0.44332 | 0.015052 | 0.45837 | 0.44332 | 0.015052 | 0.45837 | 497.3367
1095 | 0.5889 | 0.47541 | 0.016424 | 0.49184 | 0.41527 | 0.013855 | 0.42912 | 0.41527 | 0.013855 | 0.42912 | 469.8897
1105 | 0.59025 | 0.32065 | 0.01064 | 0.33129 | 0.28009 | 0.0090623 | 0.28915 | 0.28009 | 0.0090623 | 0.28915 | 319.5082
1115 | 0.579 | 0.20965 | 0.0067469 | 0.21639 | 0.18312 | 0.0057809 | 0.1889 | 0.18312 | 0.0057809 | 0.1889 | 210.6284
1125 | 0.56815 | 0.19937 | 0.0063299 | 0.2057 | 0.17415 | 0.0054123 | 0.17956 | 0.17415 | 0.0054123 | 0.17956 | 202.0048
1135 | 0.56 | 0.22335 | 0.0070365 | 0.23038 | 0.19509 | 0.0059873 | 0.20108 | 0.19509 | 0.0059873 | 0.20108 | 228.2231
1145 | 0.55 | 0.21484 | 0.0066814 | 0.22152 | 0.18766 | 0.0056725 | 0.19333 | 0.18766 | 0.0056725 | 0.19333 | 221.363
1155 | 0.54235 | 0.28685 | 0.008933 | 0.29578 | 0.25056 | 0.0075162 | 0.25807 | 0.25056 | 0.0075162 | 0.25807 | 298.0759
1165 | 0.5282 | 0.38316 | 0.012023 | 0.39518 | 0.33468 | 0.010001 | 0.34469 | 0.33468 | 0.010001 | 0.34469 | 401.5581
1175 | 0.52265 | 0.40477 | 0.012614 | 0.41738 | 0.35356 | 0.010443 | 0.36401 | 0.35356 | 0.010443 | 0.36401 | 427.707
1185 | 0.5088 | 0.40378 | 0.01246 | 0.41624 | 0.3527 | 0.010282 | 0.36298 | 0.3527 | 0.010282 | 0.36298 | 430.1292
1195 | 0.5032 | 0.41057 | 0.012552 | 0.42313 | 0.35863 | 0.010321 | 0.36895 | 0.35863 | 0.010321 | 0.36895 | 440.8982
1205 | 0.4942 | 0.41004 | 0.012414 | 0.42246 | 0.35817 | 0.010177 | 0.36834 | 0.35817 | 0.010177 | 0.36834 | 443.8531
1215 | 0.4874 | 0.40833 | 0.012238 | 0.42057 | 0.35667 | 0.010004 | 0.36668 | 0.35667 | 0.010004 | 0.36668 | 445.5128
1225 | 0.47795 | 0.40696 | 0.012082 | 0.41904 | 0.35548 | 0.0098462 | 0.36532 | 0.35548 | 0.0098462 | 0.36532 | 447.5196
1235 | 0.46825 | 0.40949 | 0.012054 | 0.42154 | 0.35768 | 0.0097898 | 0.36747 | 0.35768 | 0.0097898 | 0.36747 | 453.8271
1245 | 0.45915 | 0.4093 | 0.011947 | 0.42125 | 0.35752 | 0.009673 | 0.36719 | 0.35752 | 0.009673 | 0.36719 | 457.1535
1255 | 0.45235 | 0.39516 | 0.0114 | 0.40656 | 0.34517 | 0.0092158 | 0.35439 | 0.34517 | 0.0092158 | 0.35439 | 444.7538
1265 | 0.4432 | 0.38104 | 0.010869 | 0.39191 | 0.33283 | 0.0087703 | 0.3416 | 0.33283 | 0.0087703 | 0.3416 | 432.1289
1275 | 0.44055 | 0.37826 | 0.010673 | 0.38893 | 0.33041 | 0.0085903 | 0.339 | 0.33041 | 0.0085903 | 0.339 | 432.2209
1285 | 0.4208 | 0.36998 | 0.010339 | 0.38032 | 0.32318 | 0.0082908 | 0.33147 | 0.32318 | 0.0082908 | 0.33147 | 425.9346
1295 | 0.4187 | 0.36051 | 0.0099425 | 0.37046 | 0.3149 | 0.007956 | 0.32286 | 0.3149 | 0.007956 | 0.32286 | 418.103
1305 | 0.4097 | 0.33686 | 0.0091608 | 0.34602 | 0.29424 | 0.0073231 | 0.30156 | 0.29424 | 0.0073231 | 0.30156 | 393.5417
1315 | 0.3989 | 0.3181 | 0.0085427 | 0.32664 | 0.27785 | 0.006818 | 0.28467 | 0.27785 | 0.006818 | 0.28467 | 374.3418
1325 | 0.3918 | 0.20455 | 0.0053022 | 0.20985 | 0.17867 | 0.0042694 | 0.18294 | 0.17867 | 0.0042694 | 0.18294 | 242.397
1335 | 0.38285 | 0.12854 | 0.0032463 | 0.13179 | 0.11228 | 0.0026281 | 0.11491 | 0.11228 | 0.0026281 | 0.11491 | 153.4025
1345 | 0.37815 | 0.092115 | 0.0022866 | 0.094402 | 0.080461 | 0.0018537 | 0.082315 | 0.080461 | 0.0018537 | 0.082315 | 110.7136
1355 | 0.3702 | 0.056261 | 0.0013734 | 0.057635 | 0.049143 | 0.001115 | 0.050258 | 0.049143 | 0.001115 | 0.050258 | 68.1002
1365 | 0.3649 | 0.032029 | 0.0007709 | 0.0328 | 0.027977 | 0.00062597 | 0.028603 | 0.027977 | 0.00062597 | 0.028603 | 39.0427
1375 | 0.3592 | 0.019906 | 0.00047365 | 0.020379 | 0.017387 | 0.00038414 | 0.017771 | 0.017387 | 0.00038414 | 0.017771 | 24.4356
1385 | 0.3538 | 0.013072 | 0.00030788 | 0.01338 | 0.011418 | 0.00024924 | 0.011668 | 0.011418 | 0.00024924 | 0.011668 | 16.1598
1395 | 0.349 | 0.0089302 | 0.00020831 | 0.0091385 | 0.0078004 | 0.00016826 | 0.0079687 | 0.0078004 | 0.00016826 | 0.0079687 | 11.1163
1405 | 0.34075 | 0.01229 | 0.00028439 | 0.012575 | 0.010735 | 0.00022898 | 0.010964 | 0.010735 | 0.00022898 | 0.010964 | 15.405
1415 | 0.33545 | 0.017737 | 0.00040737 | 0.018144 | 0.015493 | 0.00032684 | 0.01582 | 0.015493 | 0.00032684 | 0.01582 | 22.3849
1425 | 0.3286 | 0.026798 | 0.00061151 | 0.02741 | 0.023408 | 0.00048865 | 0.023897 | 0.023408 | 0.00048865 | 0.023897 | 34.0527
1435 | 0.3266 | 0.044445 | 0.0010098 | 0.045455 | 0.038822 | 0.00080276 | 0.039625 | 0.038822 | 0.00080276 | 0.039625 | 56.8622
1445 | 0.31845 | 0.074034 | 0.0016806 | 0.075714 | 0.064668 | 0.0013269 | 0.065995 | 0.064668 | 0.0013269 | 0.065995 | 95.3622
1455 | 0.3139 | 0.094437 | 0.0021376 | 0.096574 | 0.082489 | 0.0016784 | 0.084168 | 0.082489 | 0.0016784 | 0.084168 | 122.464
1465 | 0.3103 | 0.11768 | 0.0026585 | 0.12034 | 0.10279 | 0.002075 | 0.10487 | 0.10279 | 0.002075 | 0.10487 | 153.6314
1475 | 0.3038 | 0.11567 | 0.002592 | 0.11827 | 0.10104 | 0.0020175 | 0.10306 | 0.10104 | 0.0020175 | 0.10306 | 152.0107
1485 | 0.29825 | 0.13686 | 0.0030614 | 0.13992 | 0.11954 | 0.0023691 | 0.12191 | 0.11954 | 0.0023691 | 0.12191 | 181.0396
1495 | 0.2988 | 0.18748 | 0.0042196 | 0.1917 | 0.16377 | 0.0032353 | 0.167 | 0.16377 | 0.0032353 | 0.167 | 249.6655
1505 | 0.28735 | 0.21059 | 0.0047443 | 0.21533 | 0.18395 | 0.0036135 | 0.18756 | 0.18395 | 0.0036135 | 0.18756 | 282.277
1515 | 0.288 | 0.23602 | 0.0053146 | 0.24133 | 0.20616 | 0.0040242 | 0.21018 | 0.20616 | 0.0040242 | 0.21018 | 318.4302
1525 | 0.28225 | 0.25964 | 0.0058515 | 0.26549 | 0.22679 | 0.004403 | 0.23119 | 0.22679 | 0.004403 | 0.23119 | 352.5714
1535 | 0.278 | 0.25825 | 0.0057794 | 0.26402 | 0.22557 | 0.0043362 | 0.22991 | 0.22557 | 0.0043362 | 0.22991 | 352.9122
1545 | 0.27385 | 0.25055 | 0.0055615 | 0.25611 | 0.21885 | 0.0041653 | 0.22302 | 0.21885 | 0.0041653 | 0.22302 | 344.5593
1555 | 0.26845 | 0.24056 | 0.0052937 | 0.24585 | 0.21013 | 0.0039581 | 0.21409 | 0.21013 | 0.0039581 | 0.21409 | 332.9027
1565 | 0.2648 | 0.23815 | 0.0052013 | 0.24335 | 0.20802 | 0.0038784 | 0.2119 | 0.20802 | 0.0038784 | 0.2119 | 331.6201
1575 | 0.25845 | 0.23591 | 0.0051165 | 0.24102 | 0.20606 | 0.0038028 | 0.20986 | 0.20606 | 0.0038028 | 0.20986 | 330.5352
1585 | 0.2541 | 0.23231 | 0.005001 | 0.23731 | 0.20292 | 0.003707 | 0.20662 | 0.20292 | 0.003707 | 0.20662 | 327.5001
1595 | 0.25135 | 0.22808 | 0.0048718 | 0.23295 | 0.19923 | 0.0036031 | 0.20283 | 0.19923 | 0.0036031 | 0.20283 | 323.5133
1605 | 0.2474 | 0.22198 | 0.0047043 | 0.22669 | 0.1939 | 0.0034719 | 0.19737 | 0.1939 | 0.0034719 | 0.19737 | 316.7833
1615 | 0.24035 | 0.21645 | 0.004554 | 0.221 | 0.18906 | 0.0033517 | 0.19241 | 0.18906 | 0.0033517 | 0.19241 | 310.7489
1625 | 0.23895 | 0.22015 | 0.004603 | 0.22475 | 0.1923 | 0.0033756 | 0.19567 | 0.1923 | 0.0033756 | 0.19567 | 317.971
1635 | 0.23285 | 0.21936 | 0.0045578 | 0.22392 | 0.19161 | 0.0033304 | 0.19494 | 0.19161 | 0.0033304 | 0.19494 | 318.725
1645 | 0.2266 | 0.21305 | 0.0043945 | 0.21744 | 0.1861 | 0.0032029 | 0.1893 | 0.1861 | 0.0032029 | 0.1893 | 311.3961
1655 | 0.2253 | 0.2115 | 0.004331 | 0.21583 | 0.18474 | 0.0031486 | 0.18789 | 0.18474 | 0.0031486 | 0.18789 | 310.9551
1665 | 0.2212 | 0.20739 | 0.0042167 | 0.21161 | 0.18115 | 0.0030576 | 0.18421 | 0.18115 | 0.0030576 | 0.18421 | 306.7135
1675 | 0.2155 | 0.20185 | 0.0040751 | 0.20592 | 0.17631 | 0.0029473 | 0.17926 | 0.17631 | 0.0029473 | 0.17926 | 300.2578
1685 | 0.2082 | 0.19171 | 0.0038387 | 0.19555 | 0.16745 | 0.0027705 | 0.17022 | 0.16745 | 0.0027705 | 0.17022 | 286.8273
1695 | 0.20995 | 0.19045 | 0.0037833 | 0.19423 | 0.16636 | 0.0027247 | 0.16908 | 0.16636 | 0.0027247 | 0.16908 | 286.5913
1705 | 0.2031 | 0.18214 | 0.0035908 | 0.18573 | 0.1591 | 0.0025801 | 0.16168 | 0.1591 | 0.0025801 | 0.16168 | 275.6601
1715 | 0.20025 | 0.17786 | 0.0034804 | 0.18134 | 0.15535 | 0.002495 | 0.15785 | 0.15535 | 0.002495 | 0.15785 | 270.7116
1725 | 0.19625 | 0.17282 | 0.0033573 | 0.17617 | 0.15095 | 0.002401 | 0.15335 | 0.15095 | 0.002401 | 0.15335 | 264.5366
1735 | 0.18675 | 0.16318 | 0.0031475 | 0.16633 | 0.14253 | 0.0022456 | 0.14478 | 0.14253 | 0.0022456 | 0.14478 | 251.1932
1745 | 0.18675 | 0.12922 | 0.0024405 | 0.13166 | 0.11287 | 0.001747 | 0.11462 | 0.11287 | 0.001747 | 0.11462 | 200.0107
1755 | 0.18425 | 0.10021 | 0.0018589 | 0.10207 | 0.087534 | 0.0013338 | 0.088868 | 0.087534 | 0.0013338 | 0.088868 | 155.9633
1765 | 0.181 | 0.08268 | 0.001514 | 0.084194 | 0.07222 | 0.0010866 | 0.073306 | 0.07222 | 0.0010866 | 0.073306 | 129.3856
1775 | 0.177 | 0.069912 | 0.0012663 | 0.071178 | 0.061067 | 0.00090832 | 0.061976 | 0.061067 | 0.00090832 | 0.061976 | 110.0066
1785 | 0.1745 | 0.060656 | 0.0010881 | 0.061744 | 0.052982 | 0.00077964 | 0.053762 | 0.052982 | 0.00077964 | 0.053762 | 95.9654
1795 | 0.171 | 0.052949 | 0.00094146 | 0.053891 | 0.04625 | 0.00067363 | 0.046924 | 0.04625 | 0.00067363 | 0.046924 | 84.2288
1805 | 0.16875 | 0.035803 | 0.00062841 | 0.036432 | 0.031274 | 0.00044996 | 0.031724 | 0.031274 | 0.00044996 | 0.031724 | 57.2612
1815 | 0.15975 | 0.020199 | 0.00035038 | 0.02055 | 0.017644 | 0.00025098 | 0.017895 | 0.017644 | 0.00025098 | 0.017895 | 32.4794
1825 | 0.16125 | 0.013319 | 0.00022901 | 0.013548 | 0.011634 | 0.00016386 | 0.011798 | 0.011634 | 0.00016386 | 0.011798 | 21.5307
1835 | 0.15775 | 0.0089815 | 0.00015328 | 0.0091348 | 0.0078452 | 0.00010948 | 0.0079547 | 0.0078452 | 0.00010948 | 0.0079547 | 14.5969
1845 | 0.15375 | 0.0062589 | 0.00010609 | 0.006365 | 0.0054671 | 7.5614e-05 | 0.0055427 | 0.0054671 | 7.5614e-05 | 0.0055427 | 10.2263
1855 | 0.151 | 0.0045155 | 7.6052e-05 | 0.0045915 | 0.0039442 | 5.4075e-05 | 0.0039983 | 0.0039442 | 5.4075e-05 | 0.0039983 | 7.4168
1865 | 0.14725 | 0.0041356 | 6.925e-05 | 0.0042049 | 0.0036124 | 4.9105e-05 | 0.0036615 | 0.0036124 | 4.9105e-05 | 0.0036615 | 6.8287
1875 | 0.13925 | 0.0046434 | 7.7339e-05 | 0.0047208 | 0.004056 | 5.4676e-05 | 0.0041107 | 0.004056 | 5.4676e-05 | 0.0041107 | 7.7075
1885 | 0.14475 | 0.0057743 | 9.5672e-05 | 0.0058699 | 0.0050437 | 6.7431e-05 | 0.0051112 | 0.0050437 | 6.7431e-05 | 0.0051112 | 9.6346
1895 | 0.139 | 0.0066914 | 0.00011031 | 0.0068017 | 0.0058448 | 7.7503e-05 | 0.0059223 | 0.0058448 | 7.7503e-05 | 0.0059223 | 11.2228
1905 | 0.13875 | 0.0081434 | 0.00013359 | 0.008277 | 0.0071132 | 9.3561e-05 | 0.0072067 | 0.0071132 | 9.3561e-05 | 0.0072067 | 13.7288
1915 | 0.136 | 0.0098522 | 0.00016087 | 0.010013 | 0.0086058 | 0.0001123 | 0.0087181 | 0.0086058 | 0.0001123 | 0.0087181 | 16.6951
1925 | 0.1335 | 0.010968 | 0.00017826 | 0.011146 | 0.0095804 | 0.00012405 | 0.0097044 | 0.0095804 | 0.00012405 | 0.0097044 | 18.681
1935 | 0.13125 | 0.01311 | 0.00021222 | 0.013323 | 0.011452 | 0.0001472 | 0.011599 | 0.011452 | 0.0001472 | 0.011599 | 22.4439
1945 | 0.124 | 0.01618 | 0.00026112 | 0.016441 | 0.014133 | 0.00018046 | 0.014313 | 0.014133 | 0.00018046 | 0.014313 | 27.839
1955 | 0.127 | 0.023513 | 0.00037912 | 0.023892 | 0.020538 | 0.0002609 | 0.020799 | 0.020538 | 0.0002609 | 0.020799 | 40.6626
1965 | 0.124 | 0.033625 | 0.00054291 | 0.034168 | 0.029371 | 0.0003717 | 0.029743 | 0.029371 | 0.0003717 | 0.029743 | 58.4449
1975 | 0.122 | 0.048075 | 0.00077877 | 0.048854 | 0.041993 | 0.00052966 | 0.042523 | 0.041993 | 0.00052966 | 0.042523 | 83.9826
1985 | 0.1195 | 0.08896 | 0.0014682 | 0.090428 | 0.077706 | 0.00098486 | 0.07869 | 0.077706 | 0.00098486 | 0.07869 | 156.2005
1995 | 0.11775 | 0.049961 | 0.000809 | 0.05077 | 0.04364 | 0.00054898 | 0.044189 | 0.04364 | 0.00054898 | 0.044189 | 88.1572
2005 | 0.1155 | 0.036997 | 0.00059344 | 0.037591 | 0.032317 | 0.00040354 | 0.03272 | 0.032317 | 0.00040354 | 0.03272 | 65.6044
2015 | 0.11375 | 0.044768 | 0.00071703 | 0.045485 | 0.039105 | 0.0004848 | 0.039589 | 0.039105 | 0.0004848 | 0.039589 | 79.7728
2025 | 0.1115 | 0.056814 | 0.0009104 | 0.057725 | 0.049626 | 0.00061093 | 0.050237 | 0.049626 | 0.00061093 | 0.050237 | 101.7308
2035 | 0.10875 | 0.090277 | 0.0014604 | 0.091737 | 0.078856 | 0.00096417 | 0.07982 | 0.078856 | 0.00096417 | 0.07982 | 162.4338
2045 | 0.10725 | 0.08527 | 0.0013706 | 0.08664 | 0.074482 | 0.00090397 | 0.075386 | 0.074482 | 0.00090397 | 0.075386 | 154.1643
2055 | 0.10475 | 0.081128 | 0.0012967 | 0.082425 | 0.070864 | 0.0008538 | 0.071718 | 0.070864 | 0.0008538 | 0.071718 | 147.3809
2065 | 0.102 | 0.077595 | 0.0012336 | 0.078828 | 0.067778 | 0.00081076 | 0.068589 | 0.067778 | 0.00081076 | 0.068589 | 141.6357
2075 | 0.10057 | 0.078931 | 0.00125 | 0.080181 | 0.068945 | 0.00081854 | 0.069764 | 0.068945 | 0.00081854 | 0.069764 | 144.7598
2085 | 0.09835 | 0.080043 | 0.0012631 | 0.081306 | 0.069916 | 0.00082389 | 0.07074 | 0.069916 | 0.00082389 | 0.07074 | 147.4936
2095 | 0.096425 | 0.082234 | 0.0012935 | 0.083528 | 0.071831 | 0.00084018 | 0.072671 | 0.071831 | 0.00084018 | 0.072671 | 152.2456
2105 | 0.0956 | 0.084557 | 0.0013254 | 0.085882 | 0.073859 | 0.00085747 | 0.074717 | 0.073859 | 0.00085747 | 0.074717 | 157.2787
2115 | 0.093875 | 0.08347 | 0.0013022 | 0.084772 | 0.07291 | 0.00084007 | 0.07375 | 0.07291 | 0.00084007 | 0.07375 | 155.9809
2125 | 0.092475 | 0.082733 | 0.0012848 | 0.084018 | 0.072266 | 0.00082641 | 0.073093 | 0.072266 | 0.00082641 | 0.073093 | 155.3221
2135 | 0.091425 | 0.082426 | 0.0012742 | 0.083701 | 0.071998 | 0.00081721 | 0.072816 | 0.071998 | 0.00081721 | 0.072816 | 155.4613
2145 | 0.09015 | 0.082216 | 0.0012655 | 0.083481 | 0.071814 | 0.00080906 | 0.072623 | 0.071814 | 0.00080906 | 0.072623 | 155.7773
2155 | 0.08885 | 0.081431 | 0.0012477 | 0.082678 | 0.071129 | 0.0007954 | 0.071924 | 0.071129 | 0.0007954 | 0.071924 | 154.9967
2165 | 0.084325 | 0.077203 | 0.0011773 | 0.078381 | 0.067436 | 0.00074853 | 0.068185 | 0.067436 | 0.00074853 | 0.068185 | 147.6197
2175 | 0.0854 | 0.078109 | 0.0011854 | 0.079294 | 0.068227 | 0.00075174 | 0.068979 | 0.068227 | 0.00075174 | 0.068979 | 150.0293
2185 | 0.084275 | 0.077005 | 0.0011632 | 0.078169 | 0.067263 | 0.00073568 | 0.067999 | 0.067263 | 0.00073568 | 0.067999 | 148.5776
2195 | 0.083225 | 0.075975 | 0.0011423 | 0.077117 | 0.066363 | 0.00072055 | 0.067083 | 0.066363 | 0.00072055 | 0.067083 | 147.2482
2205 | 0.08135 | 0.07415 | 0.0011096 | 0.075259 | 0.064769 | 0.00069812 | 0.065467 | 0.064769 | 0.00069812 | 0.065467 | 144.3545
2215 | 0.0804 | 0.073156 | 0.0010897 | 0.074246 | 0.063901 | 0.00068378 | 0.064585 | 0.063901 | 0.00068378 | 0.064585 | 143.0552
2225 | 0.079 | 0.071761 | 0.001064 | 0.072825 | 0.062682 | 0.00066589 | 0.063348 | 0.062682 | 0.00066589 | 0.063348 | 140.9494
2235 | 0.077675 | 0.070441 | 0.0010397 | 0.071481 | 0.06153 | 0.00064896 | 0.062178 | 0.06153 | 0.00064896 | 0.062178 | 138.9689
2245 | 0.076125 | 0.068925 | 0.0010127 | 0.069938 | 0.060205 | 0.00063045 | 0.060836 | 0.060205 | 0.00063045 | 0.060836 | 136.5758
2255 | 0.074525 | 0.067371 | 0.00098539 | 0.068356 | 0.058848 | 0.00061185 | 0.059459 | 0.058848 | 0.00061185 | 0.059459 | 134.0811
2265 | 0.07345 | 0.066298 | 0.00096537 | 0.067263 | 0.05791 | 0.00059784 | 0.058508 | 0.05791 | 0.00059784 | 0.058508 | 132.5207
2275 | 0.072425 | 0.064608 | 0.000936 | 0.065544 | 0.056434 | 0.00057824 | 0.057013 | 0.056434 | 0.00057824 | 0.057013 | 129.7036
2285 | 0.07135 | 0.062492 | 0.00090045 | 0.063393 | 0.054586 | 0.000555 | 0.055141 | 0.054586 | 0.000555 | 0.055141 | 125.9981
2295 | 0.06985 | 0.060241 | 0.0008635 | 0.061104 | 0.052619 | 0.00053096 | 0.05315 | 0.052619 | 0.00053096 | 0.05315 | 121.98
2305 | 0.069325 | 0.058977 | 0.00084113 | 0.059818 | 0.051516 | 0.00051596 | 0.052032 | 0.051516 | 0.00051596 | 0.052032 | 119.9331
2315 | 0.068225 | 0.057327 | 0.00081357 | 0.05814 | 0.050074 | 0.00049784 | 0.050572 | 0.050074 | 0.00049784 | 0.050572 | 117.0744
2325 | 0.06625 | 0.055034 | 0.00077727 | 0.055812 | 0.048072 | 0.00047445 | 0.048546 | 0.048072 | 0.00047445 | 0.048546 | 112.8704
2335 | 0.0657 | 0.053998 | 0.00075901 | 0.054757 | 0.047166 | 0.00046215 | 0.047629 | 0.047166 | 0.00046215 | 0.047629 | 111.2129
2345 | 0.064925 | 0.052827 | 0.00073908 | 0.053566 | 0.046143 | 0.00044889 | 0.046592 | 0.046143 | 0.00044889 | 0.046592 | 109.259
2355 | 0.06315 | 0.050894 | 0.00070876 | 0.051603 | 0.044455 | 0.0004294 | 0.044885 | 0.044455 | 0.0004294 | 0.044885 | 105.7037
2365 | 0.062875 | 0.046368 | 0.0006402 | 0.047008 | 0.040502 | 0.0003874 | 0.040889 | 0.040502 | 0.0003874 | 0.040889 | 96.7023
2375 | 0.06175 | 0.040307 | 0.00055123 | 0.040858 | 0.035207 | 0.00033329 | 0.035541 | 0.035207 | 0.00033329 | 0.035541 | 84.4091
2385 | 0.0601 | 0.035647 | 0.00048372 | 0.036131 | 0.031137 | 0.00029207 | 0.031429 | 0.031137 | 0.00029207 | 0.031429 | 74.9591
2395 | 0.060075 | 0.032828 | 0.00044239 | 0.03327 | 0.028675 | 0.00026667 | 0.028941 | 0.028675 | 0.00026667 | 0.028941 | 69.3143
2405 | 0.059425 | 0.030184 | 0.0004042 | 0.030589 | 0.026366 | 0.0002432 | 0.026609 | 0.026366 | 0.0002432 | 0.026609 | 63.9943
2415 | 0.05775 | 0.027441 | 0.0003653 | 0.027807 | 0.02397 | 0.00021936 | 0.024189 | 0.02397 | 0.00021936 | 0.024189 | 58.4163
2425 | 0.0574 | 0.02564 | 0.00033942 | 0.02598 | 0.022396 | 0.00020339 | 0.0226 | 0.022396 | 0.00020339 | 0.0226 | 54.8045
2435 | 0.056625 | 0.023871 | 0.00031431 | 0.024185 | 0.020851 | 0.00018794 | 0.021039 | 0.020851 | 0.00018794 | 0.021039 | 51.2291
2445 | 0.055525 | 0.02216 | 0.00029029 | 0.022451 | 0.019357 | 0.00017319 | 0.01953 | 0.019357 | 0.00017319 | 0.01953 | 47.7511
2455 | 0.054375 | 0.018489 | 0.00024043 | 0.018729 | 0.01615 | 0.00014325 | 0.016293 | 0.01615 | 0.00014325 | 0.016293 | 39.9987
2465 | 0.054125 | 0.014588 | 0.00018823 | 0.014776 | 0.012743 | 0.00011203 | 0.012855 | 0.012743 | 0.00011203 | 0.012855 | 31.6867
2475 | 0.053075 | 0.011693 | 0.0001499 | 0.011843 | 0.010214 | 8.9077e-05 | 0.010303 | 0.010214 | 8.9077e-05 | 0.010303 | 25.4999
2485 | 0.051975 | 0.0095544 | 0.00012178 | 0.0096761 | 0.0083456 | 7.2236e-05 | 0.0084179 | 0.0083456 | 7.2236e-05 | 0.0084179 | 20.9184
2495 | 0.05035 | 0.0078395 | 9.9409e-05 | 0.007939 | 0.0068477 | 5.8844e-05 | 0.0069066 | 0.0068477 | 5.8844e-05 | 0.0069066 | 17.2319
2505 | 0.05065 | 0.0012071 | 1.5147e-05 | 0.0012222 | 0.0010544 | 8.9747e-06 | 0.0010634 | 0.0010544 | 8.9747e-06 | 0.0010634 | 2.6637
2515 | 0.048825 | 0.00011768 | 1.47e-06 | 0.00011915 | 0.00010279 | 8.6914e-07 | 0.00010366 | 0.00010279 | 8.6914e-07 | 0.00010366 | 0.26071
2525 | 0.0478 | 2.0568e-05 | 2.56e-07 | 2.0824e-05 | 1.7966e-05 | 1.5095e-07 | 1.8117e-05 | 1.7966e-05 | 1.5095e-07 | 1.8117e-05 | 0.045745
2535 | 0.047175 | 4.7506e-06 | 5.8921e-08 | 4.8095e-06 | 4.1496e-06 | 3.4644e-08 | 4.1842e-06 | 4.1496e-06 | 3.4644e-08 | 4.1842e-06 | 0.010607
2545 | 0.046575 | 1.2988e-06 | 1.6052e-08 | 1.3148e-06 | 1.1344e-06 | 9.4119e-09 | 1.1439e-06 | 1.1344e-06 | 9.4119e-09 | 1.1439e-06 | 0.0029111
2555 | 0.045875 | 3.9861e-07 | 4.9096e-09 | 4.0352e-07 | 3.4818e-07 | 2.8706e-09 | 3.5105e-07 | 3.4818e-07 | 2.8706e-09 | 3.5105e-07 | 0.00089693
2565 | 0.045175 | 1.3368e-07 | 1.6409e-09 | 1.3532e-07 | 1.1677e-07 | 9.5672e-10 | 1.1772e-07 | 1.1677e-07 | 9.5672e-10 | 1.1772e-07 | 0.00030196
2575 | 0.0445 | 4.8106e-08 | 5.8847e-10 | 4.8694e-08 | 4.202e-08 | 3.4215e-10 | 4.2362e-08 | 4.202e-08 | 3.4215e-10 | 4.2362e-08 | 0.00010908
2585 | 0.043525 | 1.8202e-08 | 2.2191e-10 | 1.8424e-08 | 1.5899e-08 | 1.2866e-10 | 1.6028e-08 | 1.5899e-08 | 1.2866e-10 | 1.6028e-08 | 4.1432e-05
2595 | 0.043075 | 7.311e-09 | 8.8831e-11 | 7.3998e-09 | 6.386e-09 | 5.1359e-11 | 6.4374e-09 | 6.386e-09 | 5.1359e-11 | 6.4374e-09 | 1.6705e-05
2605 | 0.04275 | 2.4978e-09 | 3.0248e-11 | 2.5281e-09 | 2.1818e-09 | 1.7439e-11 | 2.1992e-09 | 2.1818e-09 | 1.7439e-11 | 2.1992e-09 | 5.729e-06
2615 | 0.04225 | 1.1574e-09 | 1.397e-11 | 1.1714e-09 | 1.011e-09 | 8.0316e-12 | 1.019e-09 | 1.011e-09 | 8.0316e-12 | 1.019e-09 | 2.6648e-06
2625 | 0.041075 | 5.8841e-10 | 7.0783e-12 | 5.9549e-10 | 5.1397e-10 | 4.0582e-12 | 5.1803e-10 | 5.1397e-10 | 4.0582e-12 | 5.1803e-10 | 1.3598e-06
2635 | 0.04085 | 3.2189e-10 | 3.8595e-12 | 3.2575e-10 | 2.8117e-10 | 2.2066e-12 | 2.8338e-10 | 2.8117e-10 | 2.2066e-12 | 2.8338e-10 | 7.467e-07
2645 | 0.04015 | 1.7983e-10 | 2.1492e-12 | 1.8198e-10 | 1.5708e-10 | 1.2253e-12 | 1.5831e-10 | 1.5708e-10 | 1.2253e-12 | 1.5831e-10 | 4.1872e-07
2655 | 0.039675 | 1.035e-10 | 1.2329e-12 | 1.0473e-10 | 9.0405e-11 | 7.0095e-13 | 9.1106e-11 | 9.0405e-11 | 7.0095e-13 | 9.1106e-11 | 2.4189e-07
2665 | 0.03915 | 6.0649e-11 | 7.2014e-13 | 6.1369e-11 | 5.2976e-11 | 4.0828e-13 | 5.3385e-11 | 5.2976e-11 | 4.0828e-13 | 5.3385e-11 | 1.4227e-07
2675 | 0.038675 | 3.6161e-11 | 4.28e-13 | 3.6589e-11 | 3.1587e-11 | 2.4198e-13 | 3.1828e-11 | 3.1587e-11 | 2.4198e-13 | 3.1828e-11 | 8.5141e-08
2685 | 0.03815 | 2.1832e-11 | 2.5759e-13 | 2.209e-11 | 1.907e-11 | 1.4522e-13 | 1.9216e-11 | 1.907e-11 | 1.4522e-13 | 1.9216e-11 | 5.1594e-08
2695 | 0.037475 | 1.3289e-11 | 1.5629e-13 | 1.3445e-11 | 1.1608e-11 | 8.7868e-14 | 1.1696e-11 | 1.1608e-11 | 8.7868e-14 | 1.1696e-11 | 3.152e-08
2705 | 0.0369 | 1.4206e-11 | 1.6655e-13 | 1.4372e-11 | 1.2408e-11 | 9.3373e-14 | 1.2502e-11 | 1.2408e-11 | 9.3373e-14 | 1.2502e-11 | 3.3817e-08
2715 | 0.036575 | 2.7007e-11 | 3.1565e-13 | 2.7323e-11 | 2.3591e-11 | 1.7647e-13 | 2.3767e-11 | 2.3591e-11 | 1.7647e-13 | 2.3767e-11 | 6.4528e-08
2725 | 0.03615 | 5.2451e-11 | 6.1113e-13 | 5.3063e-11 | 4.5816e-11 | 3.4071e-13 | 4.6156e-11 | 4.5816e-11 | 3.4071e-13 | 4.6156e-11 | 1.2578e-07
2735 | 0.035725 | 1.046e-10 | 1.215e-12 | 1.0582e-10 | 9.1367e-11 | 6.7547e-13 | 9.2042e-11 | 9.1367e-11 | 6.7547e-13 | 9.2042e-11 | 2.5174e-07
2745 | 0.035375 | 2.153e-10 | 2.4931e-12 | 2.1779e-10 | 1.8806e-10 | 1.3822e-12 | 1.8944e-10 | 1.8806e-10 | 1.3822e-12 | 1.8944e-10 | 5.2002e-07
2755 | 0.0349 | 4.5649e-10 | 5.2699e-12 | 4.6176e-10 | 3.9874e-10 | 2.9135e-12 | 4.0165e-10 | 3.9874e-10 | 2.9135e-12 | 4.0165e-10 | 1.1065e-06
2765 | 0.034425 | 1.0052e-09 | 1.1569e-11 | 1.0167e-09 | 8.7801e-10 | 6.3783e-12 | 8.8439e-10 | 8.7801e-10 | 6.3783e-12 | 8.8439e-10 | 2.4453e-06
2775 | 0.033925 | 2.3106e-09 | 2.6514e-11 | 2.3371e-09 | 2.0183e-09 | 1.4577e-11 | 2.0329e-09 | 2.0183e-09 | 1.4577e-11 | 2.0329e-09 | 5.6413e-06
2785 | 0.0334 | 5.5882e-09 | 6.3932e-11 | 5.6521e-09 | 4.8812e-09 | 3.5051e-11 | 4.9162e-09 | 4.8812e-09 | 3.5051e-11 | 4.9162e-09 | 1.3692e-05
2795 | 0.03295 | 1.4413e-08 | 1.644e-10 | 1.4577e-08 | 1.2589e-08 | 8.9883e-11 | 1.2679e-08 | 1.2589e-08 | 8.9883e-11 | 1.2679e-08 | 3.5438e-05
2805 | 0.03255 | 3.4133e-08 | 3.882e-10 | 3.4522e-08 | 2.9815e-08 | 2.1165e-10 | 3.0027e-08 | 2.9815e-08 | 2.1165e-10 | 3.0027e-08 | 8.4225e-05
2815 | 0.032275 | 7.2174e-08 | 8.1843e-10 | 7.2993e-08 | 6.3043e-08 | 4.4498e-10 | 6.3488e-08 | 6.3043e-08 | 4.4498e-10 | 6.3488e-08 | 0.00017872
2825 | 0.03185 | 1.5779e-07 | 1.784e-09 | 1.5957e-07 | 1.3783e-07 | 9.6727e-10 | 1.3879e-07 | 1.3783e-07 | 9.6727e-10 | 1.3879e-07 | 0.00039209
2835 | 0.031475 | 3.6138e-07 | 4.0742e-09 | 3.6546e-07 | 3.1567e-07 | 2.2028e-09 | 3.1787e-07 | 3.1567e-07 | 2.2028e-09 | 3.1787e-07 | 0.00090116
2845 | 0.030975 | 8.7051e-07 | 9.7856e-09 | 8.8029e-07 | 7.6038e-07 | 5.2761e-09 | 7.6565e-07 | 7.6038e-07 | 5.2761e-09 | 7.6565e-07 | 0.0021783
2855 | 0.030425 | 2.2404e-06 | 2.5112e-08 | 2.2655e-06 | 1.9569e-06 | 1.3502e-08 | 1.9704e-06 | 1.9569e-06 | 1.3502e-08 | 1.9704e-06 | 0.0056256
2865 | 0.02995 | 6.3125e-06 | 7.0557e-08 | 6.3831e-06 | 5.5139e-06 | 3.7831e-08 | 5.5518e-06 | 5.5139e-06 | 3.7831e-08 | 5.5518e-06 | 0.015906
2875 | 0.02945 | 2.0071e-05 | 2.237e-07 | 2.0294e-05 | 1.7531e-05 | 1.1961e-07 | 1.7651e-05 | 1.7531e-05 | 1.1961e-07 | 1.7651e-05 | 0.050747
2885 | 0.029225 | 7.7547e-05 | 8.6198e-07 | 7.8409e-05 | 6.7737e-05 | 4.5959e-07 | 6.8196e-05 | 6.7737e-05 | 4.5959e-07 | 6.8196e-05 | 0.19675
2895 | 0.028975 | 0.00042522 | 4.716e-06 | 0.00042994 | 0.00037143 | 2.5068e-06 | 0.00037393 | 0.00037143 | 2.5068e-06 | 0.00037393 | 1.0825
2905 | 0.028675 | 0.001591 | 1.7626e-05 | 0.0016086 | 0.0013897 | 9.333e-06 | 0.001399 | 0.0013897 | 9.333e-06 | 0.001399 | 4.0642
2915 | 0.028225 | 0.0017389 | 1.9218e-05 | 0.0017582 | 0.001519 | 1.0146e-05 | 0.0015291 | 0.001519 | 1.0146e-05 | 0.0015291 | 4.4573
2925 | 0.0278 | 0.0019084 | 2.1039e-05 | 0.0019294 | 0.001667 | 1.1075e-05 | 0.001678 | 0.001667 | 1.1075e-05 | 0.001678 | 4.9083
2935 | 0.027325 | 0.002098 | 2.3074e-05 | 0.002121 | 0.0018326 | 1.2111e-05 | 0.0018447 | 0.0018326 | 1.2111e-05 | 0.0018447 | 5.4141
2945 | 0.02685 | 0.0023155 | 2.5408e-05 | 0.0023409 | 0.0020226 | 1.3296e-05 | 0.0020359 | 0.0020226 | 1.3296e-05 | 0.0020359 | 5.9957
2955 | 0.026575 | 0.0025867 | 2.8322e-05 | 0.002615 | 0.0022595 | 1.4777e-05 | 0.0022742 | 0.0022595 | 1.4777e-05 | 0.0022742 | 6.7204
2965 | 0.026275 | 0.0029028 | 3.1716e-05 | 0.0029345 | 0.0025355 | 1.6497e-05 | 0.002552 | 0.0025355 | 1.6497e-05 | 0.002552 | 7.5668
2975 | 0.025975 | 0.0032785 | 3.5751e-05 | 0.0033142 | 0.0028637 | 1.8539e-05 | 0.0028822 | 0.0028637 | 1.8539e-05 | 0.0028822 | 8.5747
2985 | 0.025675 | 0.0037316 | 4.062e-05 | 0.0037723 | 0.0032595 | 2.0998e-05 | 0.0032805 | 0.0032595 | 2.0998e-05 | 0.0032805 | 9.7924
2995 | 0.0254 | 0.0042935 | 4.6664e-05 | 0.0043401 | 0.0037503 | 2.4045e-05 | 0.0037743 | 0.0037503 | 2.4045e-05 | 0.0037743 | 11.3041
3005 | 0.025125 | 0.0046124 | 5.0033e-05 | 0.0046625 | 0.0040289 | 2.5702e-05 | 0.0040546 | 0.0040289 | 2.5702e-05 | 0.0040546 | 12.1841
3015 | 0.024875 | 0.0045874 | 4.9632e-05 | 0.004637 | 0.004007 | 2.5426e-05 | 0.0040324 | 0.004007 | 2.5426e-05 | 0.0040324 | 12.1578
3025 | 0.024525 | 0.0045436 | 4.9032e-05 | 0.0045927 | 0.0039688 | 2.505e-05 | 0.0039939 | 0.0039688 | 2.505e-05 | 0.0039939 | 12.0814
3035 | 0.024175 | 0.0044996 | 4.8432e-05 | 0.004548 | 0.0039303 | 2.4675e-05 | 0.003955 | 0.0039303 | 2.4675e-05 | 0.003955 | 12.0034
3045 | 0.023975 | 0.0044832 | 4.8134e-05 | 0.0045314 | 0.003916 | 2.4456e-05 | 0.0039405 | 0.003916 | 2.4456e-05 | 0.0039405 | 11.9988
3055 | 0.0239 | 0.0044904 | 4.8088e-05 | 0.0045384 | 0.0039223 | 2.4365e-05 | 0.0039466 | 0.0039223 | 2.4365e-05 | 0.0039466 | 12.057
3065 | 0.02355 | 0.0044458 | 4.7491e-05 | 0.0044933 | 0.0038833 | 2.3997e-05 | 0.0039073 | 0.0038833 | 2.3997e-05 | 0.0039073 | 11.976
3075 | 0.02335 | 0.0044294 | 4.7198e-05 | 0.0044766 | 0.003869 | 2.3783e-05 | 0.0038928 | 0.003869 | 2.3783e-05 | 0.0038928 | 11.9705
3085 | 0.023 | 0.0043845 | 4.6603e-05 | 0.0044311 | 0.0038298 | 2.3419e-05 | 0.0038533 | 0.0038298 | 2.3419e-05 | 0.0038533 | 11.8873
3095 | 0.0226 | 0.0043299 | 4.5909e-05 | 0.0043758 | 0.0037821 | 2.3007e-05 | 0.0038051 | 0.0037821 | 2.3007e-05 | 0.0038051 | 11.7768
3105 | 0.022275 | 0.0042714 | 4.5179e-05 | 0.0043166 | 0.003731 | 2.2581e-05 | 0.0037536 | 0.003731 | 2.2581e-05 | 0.0037536 | 11.6549
3115 | 0.02185 | 0.0042992 | 4.5374e-05 | 0.0043445 | 0.0037553 | 2.2617e-05 | 0.0037779 | 0.0037553 | 2.2617e-05 | 0.0037779 | 11.7681
3125 | 0.0216 | 0.0043998 | 4.6339e-05 | 0.0044461 | 0.0038432 | 2.3034e-05 | 0.0038662 | 0.0038432 | 2.3034e-05 | 0.0038662 | 12.0819
3135 | 0.021375 | 0.0045288 | 4.7601e-05 | 0.0045764 | 0.0039558 | 2.3595e-05 | 0.0039794 | 0.0039558 | 2.3595e-05 | 0.0039794 | 12.4755
3145 | 0.021075 | 0.0046613 | 4.8899e-05 | 0.0047102 | 0.0040716 | 2.417e-05 | 0.0040957 | 0.0040716 | 2.417e-05 | 0.0040957 | 12.8811
3155 | 0.0208 | 0.0048179 | 5.0447e-05 | 0.0048684 | 0.0042084 | 2.4866e-05 | 0.0042333 | 0.0042084 | 2.4866e-05 | 0.0042333 | 13.356
3165 | 0.02065 | 0.005025 | 5.252e-05 | 0.0050775 | 0.0043893 | 2.5815e-05 | 0.0044151 | 0.0043893 | 2.5815e-05 | 0.0044151 | 13.9738
3175 | 0.02045 | 0.0052447 | 5.4723e-05 | 0.0052994 | 0.0045812 | 2.6822e-05 | 0.004608 | 0.0045812 | 2.6822e-05 | 0.004608 | 14.6305
3185 | 0.020225 | 0.0054855 | 5.7143e-05 | 0.0055427 | 0.0047916 | 2.7929e-05 | 0.0048195 | 0.0047916 | 2.7929e-05 | 0.0048195 | 15.35
3195 | 0.020075 | 0.0057801 | 6.0121e-05 | 0.0058402 | 0.0050488 | 2.9301e-05 | 0.0050781 | 0.0050488 | 2.9301e-05 | 0.0050781 | 16.2246
3205 | 0.019875 | 0.0058384 | 6.0604e-05 | 0.005899 | 0.0050998 | 2.9457e-05 | 0.0051292 | 0.0050998 | 2.9457e-05 | 0.0051292 | 16.4392
3215 | 0.019625 | 0.0056382 | 5.8372e-05 | 0.0056966 | 0.0049249 | 2.8299e-05 | 0.0049532 | 0.0049249 | 2.8299e-05 | 0.0049532 | 15.9246
3225 | 0.019425 | 0.0054617 | 5.6397e-05 | 0.0055181 | 0.0047707 | 2.7272e-05 | 0.004798 | 0.0047707 | 2.7272e-05 | 0.004798 | 15.4735
3235 | 0.0193 | 0.0053138 | 5.4729e-05 | 0.0053685 | 0.0046415 | 2.6396e-05 | 0.0046679 | 0.0046415 | 2.6396e-05 | 0.0046679 | 15.1007
3245 | 0.019125 | 0.0051588 | 5.2997e-05 | 0.0052118 | 0.0045062 | 2.5495e-05 | 0.0045317 | 0.0045062 | 2.5495e-05 | 0.0045317 | 14.7052
3255 | 0.018925 | 0.0050036 | 5.1273e-05 | 0.0050549 | 0.0043706 | 2.4602e-05 | 0.0043952 | 0.0043706 | 2.4602e-05 | 0.0043952 | 14.3064
3265 | 0.0187 | 0.0048481 | 4.9554e-05 | 0.0048976 | 0.0042347 | 2.3716e-05 | 0.0042585 | 0.0042347 | 2.3716e-05 | 0.0042585 | 13.9039
3275 | 0.0185 | 0.0047048 | 4.797e-05 | 0.0047528 | 0.0041096 | 2.2898e-05 | 0.0041325 | 0.0041096 | 2.2898e-05 | 0.0041325 | 13.534
3285 | 0.018325 | 0.0045731 | 4.6512e-05 | 0.0046196 | 0.0039945 | 2.2144e-05 | 0.0040167 | 0.0039945 | 2.2144e-05 | 0.0040167 | 13.1948
3295 | 0.01805 | 0.0044215 | 4.4861e-05 | 0.0044664 | 0.0038622 | 2.1302e-05 | 0.0038835 | 0.0038622 | 2.1302e-05 | 0.0038835 | 12.796
3305 | 0.01785 | 0.0044571 | 4.5131e-05 | 0.0045022 | 0.0038932 | 2.1372e-05 | 0.0039146 | 0.0038932 | 2.1372e-05 | 0.0039146 | 12.9376
3315 | 0.01755 | 0.0046451 | 4.6965e-05 | 0.0046921 | 0.0040575 | 2.2178e-05 | 0.0040797 | 0.0040575 | 2.2178e-05 | 0.0040797 | 13.524
3325 | 0.01725 | 0.0048516 | 4.8983e-05 | 0.0049005 | 0.0042378 | 2.3065e-05 | 0.0042609 | 0.0042378 | 2.3065e-05 | 0.0042609 | 14.1673
3335 | 0.017 | 0.0050949 | 5.1372e-05 | 0.0051463 | 0.0044504 | 2.4122e-05 | 0.0044745 | 0.0044504 | 2.4122e-05 | 0.0044745 | 14.9224
3345 | 0.016775 | 0.0053751 | 5.4133e-05 | 0.0054292 | 0.0046951 | 2.5347e-05 | 0.0047204 | 0.0046951 | 2.5347e-05 | 0.0047204 | 15.7898
3355 | 0.0165 | 0.005675 | 5.7095e-05 | 0.0057321 | 0.004957 | 2.6657e-05 | 0.0049837 | 0.004957 | 2.6657e-05 | 0.0049837 | 16.7203
3365 | 0.0163 | 0.0060471 | 6.0788e-05 | 0.0061079 | 0.0052821 | 2.8301e-05 | 0.0053104 | 0.0052821 | 2.8301e-05 | 0.0053104 | 17.8695
3375 | 0.0161 | 0.0064831 | 6.5131e-05 | 0.0065482 | 0.0056629 | 3.0236e-05 | 0.0056931 | 0.0056629 | 3.0236e-05 | 0.0056931 | 19.2143
3385 | 0.015975 | 0.0070411 | 7.0719e-05 | 0.0071118 | 0.0061503 | 3.2736e-05 | 0.0061831 | 0.0061503 | 3.2736e-05 | 0.0061831 | 20.9297
3395 | 0.015775 | 0.0077044 | 7.7401e-05 | 0.0077818 | 0.0067297 | 3.5726e-05 | 0.0067654 | 0.0067297 | 3.5726e-05 | 0.0067654 | 22.9686
3405 | 0.015625 | 0.0082083 | 8.2436e-05 | 0.0082907 | 0.0071698 | 3.7941e-05 | 0.0072078 | 0.0071698 | 3.7941e-05 | 0.0072078 | 24.5424
3415 | 0.015475 | 0.0083804 | 8.4044e-05 | 0.0084645 | 0.0073202 | 3.857e-05 | 0.0073588 | 0.0073202 | 3.857e-05 | 0.0073588 | 25.1302
3425 | 0.0153 | 0.0085533 | 8.5659e-05 | 0.008639 | 0.0074712 | 3.92e-05 | 0.0075104 | 0.0074712 | 3.92e-05 | 0.0075104 | 25.7232
3435 | 0.015175 | 0.0087717 | 8.7732e-05 | 0.0088595 | 0.007662 | 4.0032e-05 | 0.007702 | 0.007662 | 4.0032e-05 | 0.007702 | 26.4565
3445 | 0.015 | 0.0089825 | 8.973e-05 | 0.0090722 | 0.0078461 | 4.0825e-05 | 0.0078869 | 0.0078461 | 4.0825e-05 | 0.0078869 | 27.1705
3455 | 0.014875 | 0.0092498 | 9.2296e-05 | 0.0093421 | 0.0080796 | 4.187e-05 | 0.0081215 | 0.0080796 | 4.187e-05 | 0.0081215 | 28.0597
3465 | 0.014775 | 0.0095688 | 9.5382e-05 | 0.0096642 | 0.0083582 | 4.3142e-05 | 0.0084014 | 0.0083582 | 4.3142e-05 | 0.0084014 | 29.1108
3475 | 0.0146 | 0.0098862 | 9.8461e-05 | 0.0099846 | 0.0086355 | 4.44e-05 | 0.0086799 | 0.0086355 | 4.44e-05 | 0.0086799 | 30.1625
3485 | 0.014475 | 0.010305 | 0.00010256 | 0.010407 | 0.0090012 | 4.6107e-05 | 0.0090473 | 0.0090012 | 4.6107e-05 | 0.0090473 | 31.5297
3495 | 0.0143 | 0.0108 | 0.00010746 | 0.010908 | 0.009434 | 4.8152e-05 | 0.0094822 | 0.009434 | 4.8152e-05 | 0.0094822 | 33.1401
3505 | 0.014175 | 0.011116 | 0.0001105 | 0.011227 | 0.0097099 | 4.9362e-05 | 0.0097592 | 0.0097099 | 4.9362e-05 | 0.0097592 | 34.206
3515 | 0.014 | 0.011017 | 0.0001093 | 0.011126 | 0.0096233 | 4.8696e-05 | 0.009672 | 0.0096233 | 4.8696e-05 | 0.009672 | 33.9971
3525 | 0.013875 | 0.010958 | 0.0001085 | 0.011066 | 0.0095716 | 4.8212e-05 | 0.0096198 | 0.0095716 | 4.8212e-05 | 0.0096198 | 33.9098
3535 | 0.013775 | 0.010919 | 0.00010791 | 0.011027 | 0.009538 | 4.7822e-05 | 0.0095858 | 0.009538 | 4.7822e-05 | 0.0095858 | 33.8858
3545 | 0.013675 | 0.010882 | 0.00010733 | 0.010989 | 0.0095054 | 4.744e-05 | 0.0095529 | 0.0095054 | 4.744e-05 | 0.0095529 | 33.8649
3555 | 0.0135 | 0.010787 | 0.00010619 | 0.010893 | 0.0094219 | 4.6809e-05 | 0.0094687 | 0.0094219 | 4.6809e-05 | 0.0094687 | 33.6613
3565 | 0.013375 | 0.010733 | 0.00010545 | 0.010838 | 0.0093748 | 4.6363e-05 | 0.0094212 | 0.0093748 | 4.6363e-05 | 0.0094212 | 33.5865
3575 | 0.0132 | 0.010641 | 0.00010436 | 0.010745 | 0.0092947 | 4.5758e-05 | 0.0093405 | 0.0092947 | 4.5758e-05 | 0.0093405 | 33.3923
3585 | 0.013075 | 0.010593 | 0.00010369 | 0.010697 | 0.009253 | 4.5346e-05 | 0.0092983 | 0.009253 | 4.5346e-05 | 0.0092983 | 33.3344
3595 | 0.012925 | 0.010531 | 0.00010289 | 0.010634 | 0.0091984 | 4.4875e-05 | 0.0092433 | 0.0091984 | 4.4875e-05 | 0.0092433 | 33.2296
3605 | 0.0128 | 0.010474 | 0.00010215 | 0.010576 | 0.0091489 | 4.4432e-05 | 0.0091933 | 0.0091489 | 4.4432e-05 | 0.0091933 | 33.1418
3615 | 0.012675 | 0.010396 | 0.0001012 | 0.010497 | 0.0090806 | 4.3903e-05 | 0.0091245 | 0.0090806 | 4.3903e-05 | 0.0091245 | 32.9851
3625 | 0.012575 | 0.010338 | 0.00010045 | 0.010439 | 0.0090303 | 4.3464e-05 | 0.0090738 | 0.0090303 | 4.3464e-05 | 0.0090738 | 32.8924
3635 | 0.012475 | 0.010281 | 9.9701e-05 | 0.01038 | 0.0089801 | 4.303e-05 | 0.0090231 | 0.0089801 | 4.303e-05 | 0.0090231 | 32.799
3645 | 0.012375 | 0.010223 | 9.8961e-05 | 0.010322 | 0.00893 | 4.2599e-05 | 0.0089726 | 0.00893 | 4.2599e-05 | 0.0089726 | 32.7051
3655 | 0.012225 | 0.010125 | 9.7825e-05 | 0.010223 | 0.0088439 | 4.2001e-05 | 0.0088859 | 0.0088439 | 4.2001e-05 | 0.0088859 | 32.4778
3665 | 0.01215 | 0.010088 | 9.7295e-05 | 0.010186 | 0.0088121 | 4.1665e-05 | 0.0088538 | 0.0088121 | 4.1665e-05 | 0.0088538 | 32.4492
3675 | 0.011975 | 0.0099692 | 9.597e-05 | 0.010065 | 0.008708 | 4.0991e-05 | 0.008749 | 0.008708 | 4.0991e-05 | 0.008749 | 32.1526
3685 | 0.011825 | 0.0098709 | 9.4851e-05 | 0.0099657 | 0.0086221 | 4.0408e-05 | 0.0086625 | 0.0086221 | 4.0408e-05 | 0.0086625 | 31.9213
3695 | 0.0117 | 0.0097936 | 9.3939e-05 | 0.0098875 | 0.0085546 | 3.9916e-05 | 0.0085945 | 0.0085546 | 3.9916e-05 | 0.0085945 | 31.7567
3705 | 0.011575 | 0.0097174 | 9.3042e-05 | 0.0098104 | 0.008488 | 3.9433e-05 | 0.0085274 | 0.008488 | 3.9433e-05 | 0.0085274 | 31.5942
3715 | 0.011475 | 0.0096631 | 9.2361e-05 | 0.0097555 | 0.0084406 | 3.9044e-05 | 0.0084796 | 0.0084406 | 3.9044e-05 | 0.0084796 | 31.5019
3725 | 0.011375 | 0.0096091 | 9.1685e-05 | 0.0097008 | 0.0083935 | 3.8659e-05 | 0.0084321 | 0.0083935 | 3.8659e-05 | 0.0084321 | 31.4097
3735 | 0.01125 | 0.0095343 | 9.0814e-05 | 0.0096251 | 0.0083281 | 3.8193e-05 | 0.0083663 | 0.0083281 | 3.8193e-05 | 0.0083663 | 31.2482
3745 | 0.011075 | 0.0094172 | 8.9545e-05 | 0.0095068 | 0.0082258 | 3.7563e-05 | 0.0082634 | 0.0082258 | 3.7563e-05 | 0.0082634 | 30.9465
3755 | 0.010975 | 0.0093641 | 8.8888e-05 | 0.009453 | 0.0081795 | 3.7192e-05 | 0.0082166 | 0.0081795 | 3.7192e-05 | 0.0082166 | 30.8535
3765 | 0.0109 | 0.0093329 | 8.8442e-05 | 0.0094213 | 0.0081522 | 3.6911e-05 | 0.0081891 | 0.0081522 | 3.6911e-05 | 0.0081891 | 30.8319
3775 | 0.0108 | 0.0092809 | 8.7801e-05 | 0.0093687 | 0.0081067 | 3.655e-05 | 0.0081433 | 0.0081067 | 3.655e-05 | 0.0081433 | 30.7408
3785 | 0.010675 | 0.0092079 | 8.6966e-05 | 0.0092948 | 0.008043 | 3.611e-05 | 0.0080791 | 0.008043 | 3.611e-05 | 0.0080791 | 30.5793
3795 | 0.010575 | 0.0091571 | 8.6343e-05 | 0.0092434 | 0.0079986 | 3.576e-05 | 0.0080343 | 0.0079986 | 3.576e-05 | 0.0080343 | 30.4903
3805 | 0.010475 | 0.0090061 | 8.4759e-05 | 0.0090908 | 0.0078667 | 3.5024e-05 | 0.0079017 | 0.0078667 | 3.5024e-05 | 0.0079017 | 30.0661
3815 | 0.010375 | 0.0088402 | 8.3039e-05 | 0.0089232 | 0.0077218 | 3.4237e-05 | 0.007756 | 0.0077218 | 3.4237e-05 | 0.007756 | 29.5893
3825 | 0.0103 | 0.0087327 | 8.188e-05 | 0.0088146 | 0.0076279 | 3.3681e-05 | 0.0076616 | 0.0076279 | 3.3681e-05 | 0.0076616 | 29.3055
3835 | 0.010225 | 0.0086432 | 8.0899e-05 | 0.0087241 | 0.0075497 | 3.3199e-05 | 0.0075829 | 0.0075497 | 3.3199e-05 | 0.0075829 | 29.0805
3845 | 0.010125 | 0.0085447 | 7.9841e-05 | 0.0086246 | 0.0074637 | 3.2687e-05 | 0.0074964 | 0.0074637 | 3.2687e-05 | 0.0074964 | 28.8237
3855 | 0.01001 | 0.0084434 | 7.8763e-05 | 0.0085221 | 0.0073752 | 3.2169e-05 | 0.0074073 | 0.0073752 | 3.2169e-05 | 0.0074073 | 28.5553
3865 | 0.0098975 | 0.0083529 | 7.7792e-05 | 0.0084307 | 0.0072961 | 3.1696e-05 | 0.0073278 | 0.0072961 | 3.1696e-05 | 0.0073278 | 28.3221
3875 | 0.00981 | 0.0082924 | 7.7107e-05 | 0.0083695 | 0.0072433 | 3.1342e-05 | 0.0072747 | 0.0072433 | 3.1342e-05 | 0.0072747 | 28.1894
3885 | 0.009715 | 0.0082361 | 7.6466e-05 | 0.0083125 | 0.0071941 | 3.1007e-05 | 0.0072251 | 0.0071941 | 3.1007e-05 | 0.0072251 | 28.0696
3895 | 0.0096375 | 0.0082089 | 7.6103e-05 | 0.008285 | 0.0071704 | 3.0785e-05 | 0.0072012 | 0.0071704 | 3.0785e-05 | 0.0072012 | 28.0486
3905 | 0.009575 | 0.0082094 | 7.5996e-05 | 0.0082854 | 0.0071708 | 3.0665e-05 | 0.0072015 | 0.0071708 | 3.0665e-05 | 0.0072015 | 28.1217
3915 | 0.0094825 | 0.0081835 | 7.5642e-05 | 0.0082592 | 0.0071482 | 3.0442e-05 | 0.0071787 | 0.0071482 | 3.0442e-05 | 0.0071787 | 28.1045
3925 | 0.0093825 | 0.0081532 | 7.5248e-05 | 0.0082285 | 0.0071218 | 3.0203e-05 | 0.007152 | 0.0071218 | 3.0203e-05 | 0.007152 | 28.0715
3935 | 0.0092875 | 0.0081298 | 7.4919e-05 | 0.0082047 | 0.0071012 | 2.9992e-05 | 0.0071312 | 0.0071012 | 2.9992e-05 | 0.0071312 | 28.0614
3945 | 0.009185 | 0.0081028 | 7.4561e-05 | 0.0081773 | 0.0070777 | 2.977e-05 | 0.0071074 | 0.0070777 | 2.977e-05 | 0.0071074 | 28.0389
3955 | 0.0090725 | 0.0080708 | 7.416e-05 | 0.008145 | 0.0070498 | 2.9531e-05 | 0.0070793 | 0.0070498 | 2.9531e-05 | 0.0070793 | 27.9987
3965 | 0.0089925 | 0.0080732 | 7.4077e-05 | 0.0081473 | 0.0070519 | 2.942e-05 | 0.0070813 | 0.0070519 | 2.942e-05 | 0.0070813 | 28.0772
3975 | 0.0088975 | 0.0080699 | 7.3945e-05 | 0.0081438 | 0.007049 | 2.9288e-05 | 0.0070782 | 0.007049 | 2.9288e-05 | 0.0070782 | 28.136
3985 | 0.008805 | 0.0080806 | 7.3946e-05 | 0.0081545 | 0.0070583 | 2.921e-05 | 0.0070875 | 0.0070583 | 2.921e-05 | 0.0070875 | 28.2437
3995 | 0.008715 | 0.0081143 | 7.4163e-05 | 0.0081884 | 0.0070877 | 2.9215e-05 | 0.0071169 | 0.0070877 | 2.9215e-05 | 0.0071169 | 28.4321
4005 | 0.00868 | 0.0083394 | 7.616e-05 | 0.0084155 | 0.0072843 | 2.9907e-05 | 0.0073143 | 0.0072843 | 2.9907e-05 | 0.0073143 | 29.2936

## Atmospheric transmission
Wavelength (nm) | Rayleigh scattering | Turbidity | Aerosol scattering & absorption | Water vapour absorption | Ozone absorption | Unmixed gas absorption
205 | 0.0004412 | 0.20969 | 0.78669 | 1 | 1 | 1
215 | 0.0020842 | 0.19968 | 0.79575 | 1 | 1 | 1
225 | 0.0067232 | 0.19056 | 0.80409 | 1 | 1 | 1
235 | 0.016529 | 0.18224 | 0.81179 | 1 | 1 | 1
245 | 0.033345 | 0.1746 | 0.81892 | 1 | 1 | 1
255 | 0.058086 | 0.16757 | 0.82553 | 1 | 1 | 1
265 | 0.090573 | 0.16108 | 0.83169 | 1 | 1 | 1
275 | 0.12975 | 0.15506 | 0.83743 | 1 | 1 | 1
285 | 0.17402 | 0.14947 | 0.8428 | 1 | 1 | 1
295 | 0.22166 | 0.14427 | 0.84783 | 1 | 1 | 1
305 | 0.27099 | 0.13941 | 0.85256 | 1 | 0.15149 | 1
315 | 0.32061 | 0.13487 | 0.857 | 1 | 0.58814 | 1
325 | 0.36939 | 0.13061 | 0.86119 | 1 | 0.86122 | 1
335 | 0.41649 | 0.1266 | 0.86515 | 1 | 0.97094 | 1
345 | 0.46135 | 0.12283 | 0.86889 | 1 | 0.99256 | 1
355 | 0.50361 | 0.11928 | 0.87243 | 1 | 0.99862 | 1
365 | 0.54308 | 0.11592 | 0.87578 | 1 | 1 | 1
375 | 0.57972 | 0.11275 | 0.87897 | 1 | 1 | 1
385 | 0.61355 | 0.10974 | 0.882 | 1 | 1 | 1
395 | 0.64467 | 0.10689 | 0.88488 | 1 | 1 | 1
405 | 0.67321 | 0.10418 | 0.88763 | 1 | 1 | 1
415 | 0.69934 | 0.1016 | 0.89026 | 1 | 1 | 1
425 | 0.72321 | 0.099144 | 0.89276 | 1 | 1 | 1
435 | 0.74501 | 0.096804 | 0.89515 | 1 | 1 | 1
445 | 0.76491 | 0.094569 | 0.89745 | 1 | 0.99941 | 1
455 | 0.78306 | 0.092435 | 0.89964 | 1 | 0.99823 | 1
465 | 0.79962 | 0.090393 | 0.90174 | 1 | 0.99706 | 1
475 | 0.81474 | 0.088438 | 0.90376 | 1 | 0.99549 | 1
485 | 0.82854 | 0.086565 | 0.9057 | 1 | 0.99314 | 1
495 | 0.84114 | 0.084769 | 0.90756 | 1 | 0.99002 | 1
505 | 0.85267 | 0.082908 | 0.9095 | 1 | 0.98633 | 1
515 | 0.86322 | 0.080971 | 0.91152 | 1 | 0.98285 | 1
525 | 0.87287 | 0.079114 | 0.91346 | 1 | 0.97841 | 1
535 | 0.88172 | 0.077334 | 0.91532 | 1 | 0.97324 | 1
545 | 0.88984 | 0.075626 | 0.91711 | 1 | 0.96904 | 1
555 | 0.8973 | 0.073986 | 0.91883 | 1 | 0.96381 | 1
565 | 0.90415 | 0.07241 | 0.92049 | 1 | 0.9572 | 1
575 | 0.91046 | 0.070894 | 0.92209 | 0.99481 | 0.954 | 1
585 | 0.91626 | 0.069435 | 0.92363 | 0.98776 | 0.95416 | 1
595 | 0.92162 | 0.06803 | 0.92511 | 0.98486 | 0.95425 | 1
605 | 0.92656 | 0.066676 | 0.92655 | 0.99334 | 0.95402 | 1
615 | 0.93113 | 0.065371 | 0.92793 | 1 | 0.95673 | 1
625 | 0.93535 | 0.064111 | 0.92927 | 1 | 0.96239 | 1
635 | 0.93926 | 0.062896 | 0.93056 | 1 | 0.96706 | 1
645 | 0.94288 | 0.061722 | 0.93182 | 1 | 0.97072 | 1
655 | 0.94624 | 0.060587 | 0.93303 | 1 | 0.9744 | 1
665 | 0.94936 | 0.05949 | 0.9342 | 1 | 0.99274 | 1
675 | 0.95226 | 0.058429 | 0.93533 | 0.9981 | 0.99503 | 0.96867
685 | 0.95496 | 0.057402 | 0.93643 | 0.99589 | 0.99104 | 0.94863
695 | 0.95747 | 0.056407 | 0.9375 | 0.99513 | 0.99002 | 0.94963
705 | 0.95982 | 0.055444 | 0.93853 | 0.99562 | 0.99197 | 0.97354
715 | 0.962 | 0.05451 | 0.93954 | 0.91831 | 0.99368 | 1
725 | 0.96404 | 0.053604 | 0.94051 | 0.8781 | 0.99532 | 1
735 | 0.96594 | 0.052726 | 0.94146 | 0.93031 | 0.99582 | 1
745 | 0.96772 | 0.051874 | 0.94237 | 0.99004 | 0.99639 | 1
755 | 0.96939 | 0.051046 | 0.94327 | 0.99983 | 0.99706 | 1
765 | 0.97095 | 0.050243 | 0.94414 | 1 | 0.99784 | 0.93561
775 | 0.97242 | 0.049462 | 0.94498 | 0.99986 | 0.99921 | 0.94308
785 | 0.97379 | 0.048703 | 0.9458 | 0.99677 | 1 | 1
795 | 0.97508 | 0.047965 | 0.9466 | 0.99214 | 1 | 1
805 | 0.97629 | 0.047247 | 0.94738 | 0.94635 | 1 | 1
815 | 0.97743 | 0.046549 | 0.94813 | 0.90486 | 1 | 1
825 | 0.9785 | 0.045869 | 0.94887 | 0.87941 | 1 | 1
835 | 0.97951 | 0.045208 | 0.94959 | 0.95679 | 1 | 1
845 | 0.98046 | 0.044563 | 0.95029 | 0.97802 | 1 | 1
855 | 0.98136 | 0.043936 | 0.95097 | 0.98968 | 1 | 1
865 | 0.98221 | 0.043324 | 0.95164 | 0.99975 | 1 | 1
875 | 0.983 | 0.042727 | 0.95229 | 0.99927 | 1 | 1
885 | 0.98376 | 0.042146 | 0.95292 | 0.90829 | 1 | 1
895 | 0.98447 | 0.041578 | 0.95354 | 0.83774 | 1 | 1
905 | 0.98515 | 0.041025 | 0.95415 | 0.79077 | 1 | 1
915 | 0.98579 | 0.040485 | 0.95473 | 0.82288 | 1 | 1
925 | 0.98639 | 0.039958 | 0.95531 | 0.82288 | 1 | 1
935 | 0.98696 | 0.039443 | 0.95587 | 0.51162 | 1 | 1
945 | 0.98751 | 0.03894 | 0.95642 | 0.50872 | 1 | 1
955 | 0.98802 | 0.038449 | 0.95696 | 0.60344 | 1 | 1
965 | 0.98851 | 0.037969 | 0.95749 | 0.84172 | 1 | 1
975 | 0.98898 | 0.0375 | 0.958 | 0.8804 | 1 | 1
985 | 0.98942 | 0.037041 | 0.9585 | 0.92481 | 1 | 1
995 | 0.98984 | 0.036593 | 0.959 | 0.98047 | 1 | 1
1005 | 0.99023 | 0.036154 | 0.95948 | 0.98347 | 1 | 1
1015 | 0.99061 | 0.035725 | 0.95995 | 0.9869 | 1 | 1
1025 | 0.99098 | 0.035305 | 0.96041 | 0.99101 | 1 | 1
1035 | 0.99132 | 0.034894 | 0.96086 | 0.99637 | 1 | 1
1045 | 0.99165 | 0.034492 | 0.9613 | 0.99993 | 1 | 1
1055 | 0.99196 | 0.034098 | 0.96174 | 0.99981 | 1 | 1
1065 | 0.99226 | 0.033712 | 0.96216 | 0.99968 | 1 | 1
1075 | 0.99254 | 0.033334 | 0.96258 | 0.94581 | 1 | 1
1085 | 0.99281 | 0.032964 | 0.96299 | 0.9016 | 1 | 1
1095 | 0.99307 | 0.032601 | 0.96339 | 0.87142 | 1 | 1
1105 | 0.99332 | 0.032246 | 0.96378 | 0.58602 | 1 | 1
1115 | 0.99356 | 0.031897 | 0.96416 | 0.39034 | 1 | 1
1125 | 0.99378 | 0.031556 | 0.96454 | 0.37806 | 1 | 1
1135 | 0.994 | 0.031221 | 0.96491 | 0.42943 | 1 | 1
1145 | 0.99421 | 0.030892 | 0.96527 | 0.42034 | 1 | 1
1155 | 0.99441 | 0.03057 | 0.96563 | 0.56882 | 1 | 1
1165 | 0.9946 | 0.030254 | 0.96598 | 0.77973 | 1 | 1
1175 | 0.99478 | 0.029943 | 0.96632 | 0.83201 | 1 | 1
1185 | 0.99495 | 0.029639 | 0.96666 | 0.85212 | 1 | 1
1195 | 0.99512 | 0.02934 | 0.96699 | 0.87566 | 1 | 1
1205 | 0.99528 | 0.029047 | 0.96731 | 0.89683 | 1 | 0.99238
1215 | 0.99543 | 0.028759 | 0.96763 | 0.91372 | 1 | 0.98304
1225 | 0.99558 | 0.028476 | 0.96794 | 0.93455 | 1 | 0.97638
1235 | 0.99572 | 0.028198 | 0.96825 | 0.96477 | 1 | 0.97093
1245 | 0.99586 | 0.027925 | 0.96855 | 0.99925 | 1 | 0.95515
1255 | 0.99599 | 0.027657 | 0.96885 | 0.99925 | 1 | 0.93561
1265 | 0.99611 | 0.027393 | 0.96914 | 0.99925 | 1 | 0.9204
1275 | 0.99624 | 0.027135 | 0.96943 | 0.99229 | 1 | 0.92525
1285 | 0.99635 | 0.02688 | 0.96971 | 0.98344 | 1 | 0.95561
1295 | 0.99646 | 0.02663 | 0.96999 | 0.93461 | 1 | 0.98432
1305 | 0.99657 | 0.026384 | 0.97026 | 0.88789 | 1 | 0.98902
1315 | 0.99667 | 0.026142 | 0.97053 | 0.8554 | 1 | 0.99527
1325 | 0.99677 | 0.025904 | 0.9708 | 0.55734 | 1 | 0.9997
1335 | 0.99687 | 0.025671 | 0.97106 | 0.35828 | 1 | 0.99975
1345 | 0.99696 | 0.025441 | 0.97131 | 0.25983 | 1 | 0.9998
1355 | 0.99705 | 0.025214 | 0.97156 | 0.16204 | 1 | 0.99984
1365 | 0.99714 | 0.024992 | 0.97181 | 0.093554 | 1 | 0.99988
1375 | 0.99722 | 0.024773 | 0.97205 | 0.059044 | 1 | 0.99991
1385 | 0.9973 | 0.024557 | 0.97229 | 0.039353 | 1 | 0.99995
1395 | 0.99737 | 0.024345 | 0.97253 | 0.027243 | 1 | 0.99998
1405 | 0.99745 | 0.024136 | 0.97276 | 0.038829 | 1 | 0.98867
1415 | 0.99752 | 0.023931 | 0.97299 | 0.057309 | 1 | 0.98168
1425 | 0.99759 | 0.023728 | 0.97322 | 0.08886 | 1 | 0.97622
1435 | 0.99766 | 0.023529 | 0.97344 | 0.14894 | 1 | 0.9716
1445 | 0.99772 | 0.023333 | 0.97366 | 0.25469 | 1 | 0.97039
1455 | 0.99778 | 0.02314 | 0.97387 | 0.32653 | 1 | 0.97918
1465 | 0.99784 | 0.022949 | 0.97408 | 0.40737 | 1 | 0.98912
1475 | 0.9979 | 0.022762 | 0.97429 | 0.40737 | 1 | 0.9928
1485 | 0.99796 | 0.022577 | 0.9745 | 0.48944 | 1 | 0.99557
1495 | 0.99801 | 0.022395 | 0.9747 | 0.66718 | 1 | 0.99842
1505 | 0.99806 | 0.022216 | 0.9749 | 0.7783 | 1 | 0.99938
1515 | 0.99811 | 0.022039 | 0.9751 | 0.86976 | 1 | 0.99979
1525 | 0.99816 | 0.021865 | 0.97529 | 0.97776 | 1 | 0.99803
1535 | 0.99821 | 0.021693 | 0.97549 | 0.99038 | 1 | 0.99476
1545 | 0.99826 | 0.021524 | 0.97567 | 0.99942 | 1 | 0.97064
1555 | 0.9983 | 0.021357 | 0.97586 | 0.99972 | 1 | 0.9502
1565 | 0.99834 | 0.021193 | 0.97604 | 0.99986 | 1 | 0.95328
1575 | 0.99839 | 0.02103 | 0.97622 | 0.99994 | 1 | 0.96721
1585 | 0.99843 | 0.02087 | 0.9764 | 0.99998 | 1 | 0.9685
1595 | 0.99847 | 0.020713 | 0.97658 | 0.99999 | 1 | 0.96107
1605 | 0.9985 | 0.020557 | 0.97675 | 0.99997 | 1 | 0.95012
1615 | 0.99854 | 0.020404 | 0.97693 | 0.99987 | 1 | 0.95348
1625 | 0.99858 | 0.020252 | 0.97709 | 0.9997 | 1 | 0.97544
1635 | 0.99861 | 0.020103 | 0.97726 | 0.9986 | 1 | 0.9983
1645 | 0.99864 | 0.019956 | 0.97743 | 0.99677 | 1 | 0.99795
1655 | 0.99868 | 0.019811 | 0.97759 | 0.99454 | 1 | 0.99843
1665 | 0.99871 | 0.019667 | 0.97775 | 0.99253 | 1 | 0.99902
1675 | 0.99874 | 0.019526 | 0.97791 | 0.99074 | 1 | 0.99965
1685 | 0.99877 | 0.019386 | 0.97806 | 0.97357 | 1 | 0.99986
1695 | 0.9988 | 0.019248 | 0.97822 | 0.95892 | 1 | 0.99988
1705 | 0.99882 | 0.019112 | 0.97837 | 0.94782 | 1 | 0.9999
1715 | 0.99885 | 0.018978 | 0.97852 | 0.9385 | 1 | 0.99993
1725 | 0.99888 | 0.018845 | 0.97867 | 0.93031 | 1 | 0.99995
1735 | 0.9989 | 0.018714 | 0.97882 | 0.92293 | 1 | 0.99997
1745 | 0.99893 | 0.018585 | 0.97896 | 0.73073 | 1 | 0.99998
1755 | 0.99895 | 0.018457 | 0.9791 | 0.57428 | 1 | 0.99998
1765 | 0.99898 | 0.018331 | 0.97924 | 0.48224 | 1 | 0.99998
1775 | 0.999 | 0.018207 | 0.97938 | 0.41691 | 1 | 0.99998
1785 | 0.99902 | 0.018084 | 0.97952 | 0.36684 | 1 | 0.99998
1795 | 0.99904 | 0.017962 | 0.97966 | 0.32673 | 1 | 0.99998
1805 | 0.99906 | 0.017842 | 0.97979 | 0.22384 | 1 | 0.99997
1815 | 0.99909 | 0.017724 | 0.97992 | 0.13338 | 1 | 0.99995
1825 | 0.99911 | 0.017607 | 0.98006 | 0.087119 | 1 | 0.99992
1835 | 0.99912 | 0.017491 | 0.98019 | 0.060045 | 1 | 0.9999
1845 | 0.99914 | 0.017377 | 0.98031 | 0.042926 | 1 | 0.99988
1855 | 0.99916 | 0.017264 | 0.98044 | 0.031529 | 1 | 0.99985
1865 | 0.99918 | 0.017153 | 0.98057 | 0.029612 | 1 | 0.99972
1875 | 0.9992 | 0.017042 | 0.98069 | 0.035161 | 1 | 0.99949
1885 | 0.99921 | 0.016933 | 0.98081 | 0.042066 | 1 | 0.99926
1895 | 0.99923 | 0.016826 | 0.98093 | 0.050769 | 1 | 0.99903
1905 | 0.99925 | 0.016719 | 0.98105 | 0.061902 | 1 | 0.99881
1915 | 0.99926 | 0.016614 | 0.98117 | 0.076412 | 1 | 0.99859
1925 | 0.99928 | 0.01651 | 0.98129 | 0.098048 | 1 | 0.88247
1935 | 0.99929 | 0.016407 | 0.9814 | 0.13233 | 1 | 0.79488
1945 | 0.99931 | 0.016305 | 0.98152 | 0.18623 | 1 | 0.73769
1955 | 0.99932 | 0.016205 | 0.98163 | 0.2811 | 1 | 0.69337
1965 | 0.99933 | 0.016105 | 0.98174 | 0.40537 | 1 | 0.70415
1975 | 0.99935 | 0.016007 | 0.98185 | 0.53087 | 1 | 0.78126
1985 | 0.99936 | 0.01591 | 0.98196 | 0.84172 | 1 | 0.93072
1995 | 0.99937 | 0.015814 | 0.98207 | 0.8532 | 1 | 0.52327
2005 | 0.99939 | 0.015719 | 0.98218 | 0.86573 | 1 | 0.38928
2015 | 0.9994 | 0.015625 | 0.98228 | 0.88184 | 1 | 0.4695
2025 | 0.99941 | 0.015532 | 0.98239 | 0.90054 | 1 | 0.59516
2035 | 0.99942 | 0.01544 | 0.98249 | 0.92351 | 1 | 0.94538
2045 | 0.99943 | 0.015349 | 0.98259 | 0.93226 | 1 | 0.89683
2055 | 0.99944 | 0.015259 | 0.98269 | 0.94219 | 1 | 0.86433
2065 | 0.99945 | 0.01517 | 0.98279 | 0.95396 | 1 | 0.83841
2075 | 0.99946 | 0.015081 | 0.98289 | 0.95744 | 1 | 0.86169
2085 | 0.99948 | 0.014994 | 0.98299 | 0.96119 | 1 | 0.89002
2095 | 0.99949 | 0.014908 | 0.98309 | 0.96527 | 1 | 0.92859
2105 | 0.99949 | 0.014823 | 0.98318 | 0.9672 | 1 | 0.96103
2115 | 0.9995 | 0.014738 | 0.98328 | 0.96665 | 1 | 0.96655
2125 | 0.99951 | 0.014655 | 0.98337 | 0.96612 | 1 | 0.97296
2135 | 0.99952 | 0.014572 | 0.98347 | 0.96559 | 1 | 0.98092
2145 | 0.99953 | 0.01449 | 0.98356 | 0.96507 | 1 | 0.99269
2155 | 0.99954 | 0.014409 | 0.98365 | 0.964 | 1 | 0.9986
2165 | 0.99955 | 0.014329 | 0.98374 | 0.96272 | 1 | 0.99878
2175 | 0.99956 | 0.014249 | 0.98383 | 0.96149 | 1 | 0.99897
2185 | 0.99956 | 0.014171 | 0.98392 | 0.96028 | 1 | 0.99915
2195 | 0.99957 | 0.014093 | 0.984 | 0.95911 | 1 | 0.99934
2205 | 0.99958 | 0.014016 | 0.98409 | 0.95758 | 1 | 0.99931
2215 | 0.99959 | 0.013939 | 0.98418 | 0.95595 | 1 | 0.99918
2225 | 0.9996 | 0.013864 | 0.98426 | 0.95437 | 1 | 0.99905
2235 | 0.9996 | 0.013789 | 0.98435 | 0.95284 | 1 | 0.99892
2245 | 0.99961 | 0.013715 | 0.98443 | 0.95134 | 1 | 0.99879
2255 | 0.99962 | 0.013642 | 0.98451 | 0.94989 | 1 | 0.99866
2265 | 0.99962 | 0.013569 | 0.98459 | 0.94848 | 1 | 0.99854
2275 | 0.99963 | 0.013497 | 0.98468 | 0.93732 | 1 | 0.99852
2285 | 0.99964 | 0.013426 | 0.98476 | 0.92013 | 1 | 0.9986
2295 | 0.99964 | 0.013356 | 0.98484 | 0.90587 | 1 | 0.99868
2305 | 0.99965 | 0.013286 | 0.98491 | 0.89344 | 1 | 0.99876
2315 | 0.99965 | 0.013217 | 0.98499 | 0.88229 | 1 | 0.99884
2325 | 0.99966 | 0.013148 | 0.98507 | 0.87212 | 1 | 0.99892
2335 | 0.99967 | 0.01308 | 0.98515 | 0.86271 | 1 | 0.99901
2345 | 0.99967 | 0.013013 | 0.98522 | 0.85393 | 1 | 0.99909
2355 | 0.99968 | 0.012946 | 0.9853 | 0.84568 | 1 | 0.99917
2365 | 0.99968 | 0.01288 | 0.98537 | 0.77371 | 1 | 0.99925
2375 | 0.99969 | 0.012815 | 0.98544 | 0.68474 | 1 | 0.99931
2385 | 0.99969 | 0.01275 | 0.98552 | 0.62212 | 1 | 0.99937
2395 | 0.9997 | 0.012686 | 0.98559 | 0.57307 | 1 | 0.99943
2405 | 0.9997 | 0.012622 | 0.98566 | 0.53262 | 1 | 0.99949
2415 | 0.99971 | 0.012559 | 0.98573 | 0.49819 | 1 | 0.99955
2425 | 0.99971 | 0.012497 | 0.9858 | 0.46827 | 1 | 0.99961
2435 | 0.99972 | 0.012435 | 0.98587 | 0.44186 | 1 | 0.99967
2445 | 0.99972 | 0.012374 | 0.98594 | 0.41827 | 1 | 0.99973
2455 | 0.99973 | 0.012313 | 0.98601 | 0.35631 | 1 | 0.99976
2465 | 0.99973 | 0.012253 | 0.98608 | 0.28242 | 1 | 0.99976
2475 | 0.99974 | 0.012193 | 0.98615 | 0.23083 | 1 | 0.99977
2485 | 0.99974 | 0.012134 | 0.98621 | 0.19259 | 1 | 0.99977
2495 | 0.99974 | 0.012075 | 0.98628 | 0.16311 | 1 | 0.99977
2505 | 0.99975 | 0.012017 | 0.98634 | 0.024965 | 1 | 0.99973
2515 | 0.99975 | 0.01196 | 0.98641 | 0.0025249 | 1 | 0.99965
2525 | 0.99976 | 0.011903 | 0.98647 | 0.00045077 | 1 | 0.99957
2535 | 0.99976 | 0.011846 | 0.98654 | 0.00010549 | 1 | 0.99949
2545 | 0.99976 | 0.01179 | 0.9866 | 2.9213e-05 | 1 | 0.99941
2555 | 0.99977 | 0.011734 | 0.98666 | 9.1027e-06 | 1 | 0.99933
2565 | 0.99977 | 0.011679 | 0.98673 | 3.1001e-06 | 1 | 0.99925
2575 | 0.99977 | 0.011624 | 0.98679 | 1.1325e-06 | 1 | 0.99917
2585 | 0.99978 | 0.01157 | 0.98685 | 4.3813e-07 | 1 | 0.99909
2595 | 0.99978 | 0.011516 | 0.98691 | 1.7782e-07 | 1 | 0.99901
2605 | 0.99978 | 0.011463 | 0.98697 | 9.3842e-08 | 1 | 0.65162
2615 | 0.99979 | 0.01141 | 0.98703 | 6.2792e-08 | 1 | 0.45656
2625 | 0.99979 | 0.011358 | 0.98709 | 4.2345e-08 | 1 | 0.35401
2635 | 0.99979 | 0.011306 | 0.98715 | 2.8767e-08 | 1 | 0.28662
2645 | 0.9998 | 0.011254 | 0.98721 | 1.9678e-08 | 1 | 0.23815
2655 | 0.9998 | 0.011203 | 0.98726 | 1.3549e-08 | 1 | 0.20143
2665 | 0.9998 | 0.011153 | 0.98732 | 9.3872e-09 | 1 | 0.17265
2675 | 0.99981 | 0.011102 | 0.98738 | 6.5419e-09 | 1 | 0.14952
2685 | 0.99981 | 0.011052 | 0.98743 | 4.5845e-09 | 1 | 0.13058
2695 | 0.99981 | 0.011003 | 0.98749 | 3.2298e-09 | 1 | 0.11484
2705 | 0.99981 | 0.010954 | 0.98754 | 3.8455e-09 | 1 | 0.10471
2715 | 0.99982 | 0.010905 | 0.9876 | 7.8308e-09 | 1 | 0.098621
2725 | 0.99982 | 0.010857 | 0.98765 | 1.6316e-08 | 1 | 0.093002
2735 | 0.99982 | 0.010809 | 0.98771 | 3.4871e-08 | 1 | 0.087806
2745 | 0.99983 | 0.010762 | 0.98776 | 7.6685e-08 | 1 | 0.082991
2755 | 0.99983 | 0.010715 | 0.98782 | 1.7418e-07 | 1 | 0.07852
2765 | 0.99983 | 0.010668 | 0.98787 | 4.1055e-07 | 1 | 0.074362
2775 | 0.99983 | 0.010622 | 0.98792 | 1.0102e-06 | 1 | 0.070489
2785 | 0.99984 | 0.010576 | 0.98797 | 2.6155e-06 | 1 | 0.066876
2795 | 0.99984 | 0.01053 | 0.98802 | 7.2011e-06 | 1 | 0.0635
2805 | 0.99984 | 0.010485 | 0.98808 | 1.6393e-05 | 1 | 0.066871
2815 | 0.99984 | 0.01044 | 0.98813 | 2.9776e-05 | 1 | 0.078503
2825 | 0.99984 | 0.010395 | 0.98818 | 5.5699e-05 | 1 | 0.092967
2835 | 0.99985 | 0.010351 | 0.98823 | 0.00010786 | 1 | 0.11126
2845 | 0.99985 | 0.010307 | 0.98828 | 0.00021777 | 1 | 0.13488
2855 | 0.99985 | 0.010264 | 0.98833 | 0.00046294 | 1 | 0.16623
2865 | 0.99985 | 0.010221 | 0.98837 | 0.0010515 | 1 | 0.20947
2875 | 0.99985 | 0.010178 | 0.98842 | 0.0026125 | 1 | 0.2726
2885 | 0.99986 | 0.010135 | 0.98847 | 0.0074067 | 1 | 0.37434
2895 | 0.99986 | 0.010093 | 0.98852 | 0.026318 | 1 | 0.58263
2905 | 0.99986 | 0.010051 | 0.98857 | 0.061225 | 1 | 0.94681
2915 | 0.99986 | 0.01001 | 0.98861 | 0.067771 | 1 | 0.94978
2925 | 0.99986 | 0.0099683 | 0.98866 | 0.07526 | 1 | 0.95291
2935 | 0.99987 | 0.0099273 | 0.98871 | 0.083878 | 1 | 0.95623
2945 | 0.99987 | 0.0098867 | 0.98875 | 0.09386 | 1 | 0.95979
2955 | 0.99987 | 0.0098463 | 0.9888 | 0.10551 | 1 | 0.96364
2965 | 0.99987 | 0.0098063 | 0.98884 | 0.11922 | 1 | 0.96788
2975 | 0.99987 | 0.0097666 | 0.98889 | 0.13554 | 1 | 0.97263
2985 | 0.99988 | 0.0097271 | 0.98893 | 0.15518 | 1 | 0.97818
2995 | 0.99988 | 0.009688 | 0.98898 | 0.1792 | 1 | 0.98508
3005 | 0.99988 | 0.0096491 | 0.98902 | 0.19368 | 1 | 0.98985
3015 | 0.99988 | 0.0096105 | 0.98906 | 0.19441 | 1 | 0.99058
3025 | 0.99988 | 0.0095722 | 0.98911 | 0.19515 | 1 | 0.99133
3035 | 0.99988 | 0.0095342 | 0.98915 | 0.19589 | 1 | 0.99212
3045 | 0.99988 | 0.0094964 | 0.98919 | 0.19663 | 1 | 0.99295
3055 | 0.99989 | 0.009459 | 0.98924 | 0.19738 | 1 | 0.99382
3065 | 0.99989 | 0.0094218 | 0.98928 | 0.19813 | 1 | 0.99473
3075 | 0.99989 | 0.0093848 | 0.98932 | 0.19889 | 1 | 0.99571
3085 | 0.99989 | 0.0093481 | 0.98936 | 0.19965 | 1 | 0.99675
3095 | 0.99989 | 0.0093117 | 0.9894 | 0.20042 | 1 | 0.99788
3105 | 0.99989 | 0.0092756 | 0.98944 | 0.20591 | 1 | 0.97208
3115 | 0.99989 | 0.0092397 | 0.98948 | 0.21674 | 1 | 0.94756
3125 | 0.9999 | 0.009204 | 0.98952 | 0.22847 | 1 | 0.93058
3135 | 0.9999 | 0.0091686 | 0.98956 | 0.24121 | 1 | 0.91677
3145 | 0.9999 | 0.0091335 | 0.9896 | 0.25511 | 1 | 0.90485
3155 | 0.9999 | 0.0090986 | 0.98964 | 0.27033 | 1 | 0.89422
3165 | 0.9999 | 0.0090639 | 0.98968 | 0.28709 | 1 | 0.88454
3175 | 0.9999 | 0.0090295 | 0.98972 | 0.30565 | 1 | 0.87562
3185 | 0.9999 | 0.0089953 | 0.98976 | 0.32632 | 1 | 0.86731
3195 | 0.9999 | 0.0089614 | 0.9898 | 0.34955 | 1 | 0.8595
3205 | 0.99991 | 0.0089277 | 0.98984 | 0.36027 | 1 | 0.85077
3215 | 0.99991 | 0.0088942 | 0.98988 | 0.35631 | 1 | 0.8413
3225 | 0.99991 | 0.008861 | 0.98991 | 0.35242 | 1 | 0.8324
3235 | 0.99991 | 0.0088279 | 0.98995 | 0.3486 | 1 | 0.82399
3245 | 0.99991 | 0.0087951 | 0.98999 | 0.34486 | 1 | 0.81601
3255 | 0.99991 | 0.0087626 | 0.99002 | 0.34119 | 1 | 0.8084
3265 | 0.99991 | 0.0087302 | 0.99006 | 0.33759 | 1 | 0.80112
3275 | 0.99991 | 0.0086981 | 0.9901 | 0.33405 | 1 | 0.79414
3285 | 0.99991 | 0.0086661 | 0.99013 | 0.33058 | 1 | 0.78743
3295 | 0.99992 | 0.0086344 | 0.99017 | 0.32717 | 1 | 0.78097
3305 | 0.99992 | 0.0086029 | 0.99021 | 0.33409 | 1 | 0.77953
3315 | 0.99992 | 0.0085716 | 0.99024 | 0.35256 | 1 | 0.783
3325 | 0.99992 | 0.0085406 | 0.99028 | 0.37293 | 1 | 0.78654
3335 | 0.99992 | 0.0085097 | 0.99031 | 0.39557 | 1 | 0.79015
3345 | 0.99992 | 0.008479 | 0.99035 | 0.42094 | 1 | 0.79383
3355 | 0.99992 | 0.0084485 | 0.99038 | 0.44968 | 1 | 0.7976
3365 | 0.99992 | 0.0084183 | 0.99041 | 0.48271 | 1 | 0.80145
3375 | 0.99992 | 0.0083882 | 0.99045 | 0.52136 | 1 | 0.80538
3385 | 0.99992 | 0.0083583 | 0.99048 | 0.5678 | 1 | 0.80942
3395 | 0.99993 | 0.0083286 | 0.99052 | 0.62594 | 1 | 0.81355
3405 | 0.99993 | 0.0082992 | 0.99055 | 0.66793 | 1 | 0.82004
3415 | 0.99993 | 0.0082699 | 0.99058 | 0.68093 | 1 | 0.82919
3425 | 0.99993 | 0.0082407 | 0.99062 | 0.69475 | 1 | 0.83892
3435 | 0.99993 | 0.0082118 | 0.99065 | 0.70953 | 1 | 0.84933
3445 | 0.99993 | 0.0081831 | 0.99068 | 0.72543 | 1 | 0.86057
3455 | 0.99993 | 0.0081545 | 0.99071 | 0.74267 | 1 | 0.87285
3465 | 0.99993 | 0.0081262 | 0.99075 | 0.76156 | 1 | 0.88649
3475 | 0.99993 | 0.008098 | 0.99078 | 0.78254 | 1 | 0.90198
3485 | 0.99993 | 0.0080699 | 0.99081 | 0.8063 | 1 | 0.92033
3495 | 0.99993 | 0.0080421 | 0.99084 | 0.834 | 1 | 0.94393
3505 | 0.99993 | 0.0080144 | 0.99087 | 0.85051 | 1 | 0.96104
3515 | 0.99994 | 0.007987 | 0.9909 | 0.85158 | 1 | 0.96314
3525 | 0.99994 | 0.0079596 | 0.99093 | 0.85266 | 1 | 0.96534
3535 | 0.99994 | 0.0079325 | 0.99096 | 0.85375 | 1 | 0.96766
3545 | 0.99994 | 0.0079055 | 0.991 | 0.85485 | 1 | 0.97014
3555 | 0.99994 | 0.0078787 | 0.99103 | 0.85595 | 1 | 0.97279
3565 | 0.99994 | 0.0078521 | 0.99106 | 0.85706 | 1 | 0.97568
3575 | 0.99994 | 0.0078256 | 0.99109 | 0.85819 | 1 | 0.97885
3585 | 0.99994 | 0.0077993 | 0.99112 | 0.85932 | 1 | 0.98244
3595 | 0.99994 | 0.0077731 | 0.99115 | 0.86046 | 1 | 0.98664
3605 | 0.99994 | 0.0077471 | 0.99118 | 0.86173 | 1 | 0.98942
3615 | 0.99994 | 0.0077213 | 0.9912 | 0.86313 | 1 | 0.99009
3625 | 0.99994 | 0.0076956 | 0.99123 | 0.86454 | 1 | 0.99079
3635 | 0.99994 | 0.0076701 | 0.99126 | 0.86597 | 1 | 0.99151
3645 | 0.99994 | 0.0076447 | 0.99129 | 0.86741 | 1 | 0.99226
3655 | 0.99994 | 0.0076195 | 0.99132 | 0.86887 | 1 | 0.99305
3665 | 0.99995 | 0.0075944 | 0.99135 | 0.87035 | 1 | 0.99388
3675 | 0.99995 | 0.0075695 | 0.99138 | 0.87184 | 1 | 0.99475
3685 | 0.99995 | 0.0075447 | 0.9914 | 0.87335 | 1 | 0.99567
3695 | 0.99995 | 0.0075201 | 0.99143 | 0.87488 | 1 | 0.99666
3705 | 0.99995 | 0.0074956 | 0.99146 | 0.87708 | 1 | 0.99704
3715 | 0.99995 | 0.0074713 | 0.99149 | 0.87999 | 1 | 0.99678
3725 | 0.99995 | 0.0074471 | 0.99152 | 0.88298 | 1 | 0.99652
3735 | 0.99995 | 0.0074231 | 0.99154 | 0.88604 | 1 | 0.99626
3745 | 0.99995 | 0.0073992 | 0.99157 | 0.88919 | 1 | 0.99601
3755 | 0.99995 | 0.0073754 | 0.9916 | 0.89242 | 1 | 0.99577
3765 | 0.99995 | 0.0073518 | 0.99162 | 0.89576 | 1 | 0.99552
3775 | 0.99995 | 0.0073283 | 0.99165 | 0.8992 | 1 | 0.99529
3785 | 0.99995 | 0.007305 | 0.99168 | 0.90277 | 1 | 0.99505
3795 | 0.99995 | 0.0072818 | 0.9917 | 0.90646 | 1 | 0.99482
3805 | 0.99995 | 0.0072587 | 0.99173 | 0.91053 | 1 | 0.98332
3815 | 0.99995 | 0.0072358 | 0.99176 | 0.91503 | 1 | 0.96969
3825 | 0.99995 | 0.007213 | 0.99178 | 0.91977 | 1 | 0.95987
3835 | 0.99995 | 0.0071903 | 0.99181 | 0.92479 | 1 | 0.95179
3845 | 0.99995 | 0.0071677 | 0.99183 | 0.93014 | 1 | 0.94475
3855 | 0.99996 | 0.0071453 | 0.99186 | 0.93589 | 1 | 0.93843
3865 | 0.99996 | 0.007123 | 0.99188 | 0.94216 | 1 | 0.93266
3875 | 0.99996 | 0.0071009 | 0.99191 | 0.94911 | 1 | 0.9273
3885 | 0.99996 | 0.0070788 | 0.99193 | 0.95703 | 1 | 0.92229
3895 | 0.99996 | 0.0070569 | 0.99196 | 0.96647 | 1 | 0.91756
3905 | 0.99996 | 0.0070351 | 0.99198 | 0.97299 | 1 | 0.91739
3915 | 0.99996 | 0.0070135 | 0.99201 | 0.97473 | 1 | 0.92176
3925 | 0.99996 | 0.0069919 | 0.99203 | 0.97657 | 1 | 0.92636
3935 | 0.99996 | 0.0069705 | 0.99206 | 0.97853 | 1 | 0.93125
3945 | 0.99996 | 0.0069492 | 0.99208 | 0.98064 | 1 | 0.93647
3955 | 0.99996 | 0.006928 | 0.9921 | 0.98293 | 1 | 0.94213
3965 | 0.99996 | 0.0069069 | 0.99213 | 0.98546 | 1 | 0.94832
3975 | 0.99996 | 0.006886 | 0.99215 | 0.98831 | 1 | 0.95526
3985 | 0.99996 | 0.0068652 | 0.99218 | 0.99165 | 1 | 0.9633
3995 | 0.99996 | 0.0068444 | 0.9922 | 0.99579 | 1 | 0.97322
4005 | 0.99996 | 0.0068238 | 0.99222 | 1 | 1 | 1